## RDS
Standard Components - Room Data Sheet
Date of issue: 22.06.2017
Generated by dRofus (C) dRofus
AusHFG Room Number | Room name | Prog Area | Hours of Operation | Occupancy | Remarks | Acoustics | Description / Special Requirements
1BR-H-12 | 1 Bed Room - Holding, 12m2 | 12 | 24 Hours | 1 patient; 1-2 staff; 1-2 visitors |  | Acoustic privacy required. | A 1 Bed Room, 12m2, will accommodate one patient for the delivery of short term nursing and medical care (e.g. day only procedures) including observation, assessment or treatment. The room layout is to allow movement of equipment around the bed space. Natural light and outlook is essential. The 1 Bed Room, 12m2, may also be used as an Isolation Room - Class S (standard pressure). Door glazing and an internal window is recommended with this option pending location of Ensuite if provided.

## Items in room
Standard Components - Items in room
Date of issue: 22.06.2017
Generated by dRofus (C) dRofus
Items | [6 empty] | Service allocations
AusHFG Room Code | Room Name | Item list | Item Number | Name | Gross quantity | Comment | Electrical | Data | Cold Water | Hot Water | Warm Water | Tap | Drainage | Gas | Steam
1BR-H-12 | 1 Bed Room - Holding, 12m2 | FA | CLCN-002 | CORNICE: aluminium, 24mm shadow angle, powdercoat | 1 |  | No | No | No | No | No | No | No | No | No
1BR-H-12 | 1 Bed Room - Holding, 12m2 | FA | CLFS-006 | CEILING: plasterboard, flush set, suspended, paint, washable | 1 | Acoustic tiles acceptable (excluding negative pressure isolation room) | No | No | No | No | No | No | No | No | No
1BR-H-12 | 1 Bed Room - Holding, 12m2 | FA | DWGL-033 | DOOR: 1400mm c/o, 1 1/2 leaf, observation panel, solid core/glass, paint | 1 | Half leaf optional, obs panel for isolation use | No | No | No | No | No | No | No | No | No
1BR-H-12 | 1 Bed Room - Holding, 12m2 | FA | DWOB-002 | OBSERVATION: internal window, alum/glass, door height, powdercoat | 1 | Optional, to rooms with an outboard ensuite (if ensuite required). | No | No | No | No | No | No | No | No | No
1BR-H-12 | 1 Bed Room - Holding, 12m2 | FA | DWOB-010 | OBSERVATION: through door/s, glass, clear | 1 | For isolation room use. | No | No | No | No | No | No | No | No | No
1BR-H-12 | 1 Bed Room - Holding, 12m2 | FA | DWPR-006 | DOOR PROTECTION: protection plate, to 900 AFFL, PVC, prefinished | 1 |  | No | No | No | No | No | No | No | No | No
1BR-H-12 | 1 Bed Room - Holding, 12m2 | FA | DWPR-010 | DOOR PROTECTION: to door frame, PVC, prefinished | 1 |  | No | No | No | No | No | No | No | No | No
1BR-H-12 | 1 Bed Room - Holding, 12m2 | FFE | DWWD-007 | BLIND: venetian, integral | 2 | No. dependant on number of windows | No | No | No | No | No | No | No | No | No
1BR-H-12 | 1 Bed Room - Holding, 12m2 | FFE | DWWD-013 | WINDOW DRESSING: external window | 1 | Number to align with window configuration. Window dressing type to comply with Infection Control policy. | No | No | No | No | No | No | No | No | No
1BR-H-12 | 1 Bed Room - Holding, 12m2 | FA | DWWH-005 | WINDOW | 1 | Natural light & outlook essential. | No | No | No | No | No | No | No | No | No
1BR-H-12 | 1 Bed Room - Holding, 12m2 | SE | ELBO-015 | SWITCH: light, single | 3 | Room, reading and night light | No | No | No | No | No | No | No | No | No
1BR-H-12 | 1 Bed Room - Holding, 12m2 | SE | ELGP-101 | GPO: single, ceiling mounted | 1 | If patient entertainment system required | No | No | No | No | No | No | No | No | No
1BR-H-12 | 1 Bed Room - Holding, 12m2 | SE | ELGP-105 | GPO: single, on services panel | 4 | At bedhead | No | No | No | No | No | No | No | No | No
1BR-H-12 | 1 Bed Room - Holding, 12m2 | SE | ELGP-122 | GPO: emergency power, single, on services panel | 4 | At bedhead | No | No | No | No | No | No | No | No | No
1BR-H-12 | 1 Bed Room - Holding, 12m2 | SE | ELGP-206 | GPO: double, on services panel, RCD protected | 1 |  | No | No | No | No | No | No | No | No | No
1BR-H-12 | 1 Bed Room - Holding, 12m2 | SE | ELGP-208 | GPO: double, wall mounted | 1 | Bedhead, low level, for electric bed and mattress, when required | No | No | No | No | No | No | No | No | No
1BR-H-12 | 1 Bed Room - Holding, 12m2 | FFE | FIBM-019 | WHITEBOARD: fixed, magnetic | 1 | Optional; clinical use | No | No | No | No | No | No | No | No | No
1BR-H-12 | 1 Bed Room - Holding, 12m2 | FFE | FIDI-001 | DISPENSER: alcohol based hand rub | 1 |  | No | No | No | No | No | No | No | No | No
1BR-H-12 | 1 Bed Room - Holding, 12m2 | FFE | FIDI-014 | DISPENSER: disposable glove | 1 |  | No | No | No | No | No | No | No | No | No
1BR-H-12 | 1 Bed Room - Holding, 12m2 | FFE | FIDI-022 | DISPENSER: moisturiser | 1 | to hand basin. Depends on operational policy. | No | No | No | No | No | No | No | No | No
1BR-H-12 | 1 Bed Room - Holding, 12m2 | FFE | FIDI-025 | DISPENSER: paper/hand towel | 1 | to basin | No | No | No | No | No | No | No | No | No
1BR-H-12 | 1 Bed Room - Holding, 12m2 | FFE | FIDI-030 | DISPENSER: soap | 1 | to basin | No | No | No | No | No | No | No | No | No
1BR-H-12 | 1 Bed Room - Holding, 12m2 | FFE | FIDI-031 | DISPENSER: soap antiseptic | 1 | to basin | No | No | No | No | No | No | No | No | No
1BR-H-12 | 1 Bed Room - Holding, 12m2 | FFE | FIHR-004 | BRACKET: for display screen, ceiling mounted | 1 | Patient entertainment system | No | No | No | No | No | No | No | No | No
1BR-H-12 | 1 Bed Room - Holding, 12m2 | FFE | FIHR-019 | BRACKET: for suction bottle | 1 |  | No | No | No | No | No | No | No | No | No
1BR-H-12 | 1 Bed Room - Holding, 12m2 | FFE | FIHR-033 | PANEL: for storage bins, wall mount | 1 |  | No | No | No | No | No | No | No | No | No
1BR-H-12 | 1 Bed Room - Holding, 12m2 | FFE | FIRT-025 | TRACK: curtain, bedscreen, U shaped | 1 |  | No | No | No | No | No | No | No | No | No
1BR-H-12 | 1 Bed Room - Holding, 12m2 | FA | FLSK-010 | SKIRTING: vinyl, floor vinyl coved, 150H, prefinished | 1 |  | No | No | No | No | No | No | No | No | No
1BR-H-12 | 1 Bed Room - Holding, 12m2 | FA | FLVY-007 | FLOOR FINISH: vinyl, seamless, coved, standard slip resistant | 1 | Significant change in colour to be avoided. | No | No | No | No | No | No | No | No | No
1BR-H-12 | 1 Bed Room - Holding, 12m2 | FA | FLVY-009 | FLOOR FINISH: vinyl, seamless, coved, wet area, non-slip | 1 | Significant change in colour to be avoided. | No | No | No | No | No | No | No | No | No
1BR-H-12 | 1 Bed Room - Holding, 12m2 | FFE | FQBS-030 | CHAIR: visitor, patient | 1 |  | No | No | No | No | No | No | No | No | No
1BR-H-12 | 1 Bed Room - Holding, 12m2 | FFE | FQCW-016 | BIN: waste, general, 20L | 1 |  | No | No | No | No | No | No | No | No | No
1BR-H-12 | 1 Bed Room - Holding, 12m2 | FFE | FQGE-009 | CURTAIN: bed screen | 1 | Number to suit bed and curtain track configuration. | No | No | No | No | No | No | No | No | No
1BR-H-12 | 1 Bed Room - Holding, 12m2 | FFE | FQSN-007 | BIN: storage bins, wire mesh, stainless steel | 3 | For wired panels, optional. Depends on functionality, infection control and cleaning policies. | No | No | No | No | No | No | No | No | No
1BR-H-12 | 1 Bed Room - Holding, 12m2 | FFE | FQTA-013 | TABLE: overbed | 1 |  | No | No | No | No | No | No | No | No | No
1BR-H-12 | 1 Bed Room - Holding, 12m2 | FFE | HYBA-010 | BASIN: handwash, Type B | 1 |  | No | No | Yes | No | Yes | Yes | Yes | No | No
1BR-H-12 | 1 Bed Room - Holding, 12m2 | FFE | HYTP-037 | TAPWARE: mixer, elbow levers | 1 | To basin, handsfree optional | No | No | Yes | No | Yes | No | No | No | No
1BR-H-12 | 1 Bed Room - Holding, 12m2 | FFE | ITBU-012 | DISPLAY SCREEN: patient entertainment system | 1 | Optional in accordance with ICT Policy | Yes | Yes | No | No | No | No | No | No | No
1BR-H-12 | 1 Bed Room - Holding, 12m2 | SE | ITCL-004 | BUTTON: nurse call, emergency | 1 | + indicator button & light | No | No | No | No | No | No | No | No | No
1BR-H-12 | 1 Bed Room - Holding, 12m2 | SE | ITCL-006 | BUTTON: nurse call, patient to staff | 1 | + indicator button & light | No | No | No | No | No | No | No | No | No
1BR-H-12 | 1 Bed Room - Holding, 12m2 | SE | ITCL-008 | BUTTON: nurse call, staff assist | 1 | + indicator button & light | No | No | No | No | No | No | No | No | No
1BR-H-12 | 1 Bed Room - Holding, 12m2 | SE | ITCL-028 | HANDSET: nurse call, with patient to staff call button | 1 | With light switch | No | No | No | No | No | No | No | No | No
1BR-H-12 | 1 Bed Room - Holding, 12m2 | SE | ITIN-025 | OUTLET: data, double RJ45, on services panel | 1 | 1 outlet for telephone | No | No | No | No | No | No | No | No | No
1BR-H-12 | 1 Bed Room - Holding, 12m2 | SE | ITIN-070 | OUTLET: MATV | 1 | If patient entertainment system required. May be replaced with data outlet, in accordance with ICT policy | No | No | No | No | No | No | No | No | No
1BR-H-12 | 1 Bed Room - Holding, 12m2 | SE | LIFX-011 | LIGHT: reading light | 1 | Up light optional or dimmable room lighting. | No | No | No | No | No | No | No | No | No
1BR-H-12 | 1 Bed Room - Holding, 12m2 | FFE | LIFX-013 | LIGHT: procedure, ceiling mounted, small | 1 |  | Yes | No | No | No | No | No | No | No | No
1BR-H-12 | 1 Bed Room - Holding, 12m2 | SE | LIFX-017 | LIGHT: night light | 1 |  | No | No | No | No | No | No | No | No | No
1BR-H-12 | 1 Bed Room - Holding, 12m2 | SE | LIFX-032 | LIGHT: downlight, examination, ceiling mounted | 1 |  | No | No | No | No | No | No | No | No | No
1BR-H-12 | 1 Bed Room - Holding, 12m2 | SE | MGAS-022 | OUTLET: medical air (MA), on services panel | 1 |  | No | No | No | No | No | No | No | No | No
1BR-H-12 | 1 Bed Room - Holding, 12m2 | SE | MGAS-042 | OUTLET: oxygen (O2), on services panel | 1 |  | No | No | No | No | No | No | No | No | No
1BR-H-12 | 1 Bed Room - Holding, 12m2 | SE | MGAS-062 | OUTLET: suction, on services panel | 1 |  | No | No | No | No | No | No | No | No | No
1BR-H-12 | 1 Bed Room - Holding, 12m2 | FFE | MGFP-002 | FLOWMETER: medical air | 1 | Optional | No | No | No | No | No | No | No | No | No
1BR-H-12 | 1 Bed Room - Holding, 12m2 | FFE | MGFP-004 | FLOWMETER: oxygen | 1 |  | No | No | No | No | No | No | No | No | No
1BR-H-12 | 1 Bed Room - Holding, 12m2 | FFE | MMBE-010 | BED: patient, electric with mattress | 1 |  | Yes | No | No | No | No | No | No | No | No
1BR-H-12 | 1 Bed Room - Holding, 12m2 | FFE | MMGE-002 | ADAPTER: suction | 1 |  | No | No | No | No | No | No | No | No | No
1BR-H-12 | 1 Bed Room - Holding, 12m2 | FFE | MMGE-100 | SUCTION BOTTLE | 1 |  | No | No | No | No | No | No | No | No | No
1BR-H-12 | 1 Bed Room - Holding, 12m2 | SE | MMSP-026 | SERVICES PANEL: wall mounted | 1 |  | No | No | No | No | No | No | No | No | No
1BR-H-12 | 1 Bed Room - Holding, 12m2 | FA | WLPR-001 | WALL PROTECTION: bed protection wall panel | 1 |  | No | No | No | No | No | No | No | No | No
1BR-H-12 | 1 Bed Room - Holding, 12m2 | FA | WLPR-010 | WALL PROTECTION: corner guards, to 900 AFFL | 1 |  | No | No | No | No | No | No | No | No | No
1BR-H-12 | 1 Bed Room - Holding, 12m2 | FA | WLWA-004 | WALL FINISH: paint, acrylic, washable | 1 |  | No | No | No | No | No | No | No | No | No
1BR-H-12 | 1 Bed Room - Holding, 12m2 | FA | WLWA-007 | WALL FINISH: splashback | 1 | Selection of material to comply with Part D Infection Prevention and Control AusHFG. | No | No | No | No | No | No | No | No | No