## RDS
Standard Components - Room Data Sheet
Date of issue: 20.03.2017
Generated by dRofus (C) dRofus
AusHFG Room Number | Room name | Prog Area | Hours of Operation | Occupancy | Remarks | Acoustics | Description / Special Requirements
ADLBR | ADL Bed Room | 15 | 8am to 6pm, intermittent use | 1 patient; 1-2 staff |  | Acoustic privacy is required | Single Bed Room for Activities of Daily Living patient assessment and training; natural light and outlook is desirable. The room is to be lockable. The room furnishings will be domestic style to mimic home conditions.

## Items in room
Standard Components - Items in room
Date of issue: 20.03.2017
Generated by dRofus (C) dRofus
Items | [6 empty] | Service allocations
AusHFG Room Code | Room Name | Item list | Item Number | Name | Gross quantity | Comment | Electrical | Data | Cold Water | Hot Water | Warm Water | Tap | Drainage | Gas | Steam
ADLBR | ADL Bed Room | FA | CLCN-002 | CORNICE: aluminium, 24mm shadow angle, powdercoat | 1 |  | No | No | No | No | No | No | No | No | No
ADLBR | ADL Bed Room | FA | CLFS-006 | CEILING: plasterboard, flush set, suspended, paint, washable | 1 |  | No | No | No | No | No | No | No | No | No
ADLBR | ADL Bed Room | FA | DWPR-006 | DOOR PROTECTION: protection plate, to 900 AFFL, PVC, prefinished | 1 | equal to 'Acrovyn' | No | No | No | No | No | No | No | No | No
ADLBR | ADL Bed Room | FA | DWPR-010 | DOOR PROTECTION: to door frame, PVC, prefinished | 1 | equal to 'Acrovyn' | No | No | No | No | No | No | No | No | No
ADLBR | ADL Bed Room | FA | DWSC-011 | DOOR: 1100mm c/o, single leaf, solid core, paint | 1 | lockable | No | No | No | No | No | No | No | No | No
ADLBR | ADL Bed Room | FFE | DWWD-011 | CURTAIN: window, drapes | 2 |  | No | No | No | No | No | No | No | No | No
ADLBR | ADL Bed Room | FA | DWWH-005 | WINDOW | 1 | desirable | No | No | No | No | No | No | No | No | No
ADLBR | ADL Bed Room | SE | ELBO-015 | SWITCH: light, single | 2 |  | No | No | No | No | No | No | No | No | No
ADLBR | ADL Bed Room | SE | ELGP-109 | GPO: single, wall mounted | 2 |  | No | No | No | No | No | No | No | No | No
ADLBR | ADL Bed Room | SE | ELGP-110 | GPO: single, wall mounted, cleaner | 1 |  | No | No | No | No | No | No | No | No | No
ADLBR | ADL Bed Room | SE | ELGP-209.1 | GPO: double, wall mounted, RCD protected (V) | 1 |  | No | No | No | No | No | No | No | No | No
ADLBR | ADL Bed Room | FFE | FIBM-006 | MIRROR: fixed, glass | 1 | optional | No | No | No | No | No | No | No | No | No
ADLBR | ADL Bed Room | FFE | FIJO-130 | CUPBOARD: tall, single door, adj shelves and clothes rail | 1 | with hanging rail & shelves | No | No | No | No | No | No | No | No | No
ADLBR | ADL Bed Room | FFE | FIRT-027 | TRACK: curtain, box pelmet | 1 | to external window | No | No | No | No | No | No | No | No | No
ADLBR | ADL Bed Room | FA | FLCP-003 | FLOOR FINISH: carpet, broadloom, 48 oz., 90/10 wool/nylon | 1 | vinyl also acceptable | No | No | No | No | No | No | No | No | No
ADLBR | ADL Bed Room | FA | FLSK-009 | SKIRTING: vinyl, feather edged, 150H, prefinished | 1 | or floor vinyl coved skirting | No | No | No | No | No | No | No | No | No
ADLBR | ADL Bed Room | FFE | FQBS-003 | BED: domestic, single | 1 |  | No | No | No | No | No | No | No | No | No
ADLBR | ADL Bed Room | FFE | FQBS-028 | CHAIR: visitor, clinical areas | 1 |  | No | No | No | No | No | No | No | No | No
ADLBR | ADL Bed Room | FFE | FQDW-001 | DESK: adj height, 1100W x 600D x 750H nom. | 1 |  | No | No | No | No | No | No | No | No | No
ADLBR | ADL Bed Room | FFE | FQTA-001 | TABLE: bedside | 1 | heavy | No | No | No | No | No | No | No | No | No
ADLBR | ADL Bed Room | SE | ITCL-006 | BUTTON: nurse call, patient to staff | 1 | + indicator button & light | No | No | No | No | No | No | No | No | No
ADLBR | ADL Bed Room | SE | ITCL-008 | BUTTON: nurse call, staff assist | 1 | + indicator button & light | No | No | No | No | No | No | No | No | No
ADLBR | ADL Bed Room | SE | LIFX-011 | LIGHT: reading light | 1 |  | No | No | No | No | No | No | No | No | No
ADLBR | ADL Bed Room | FFE | MMGE-019 | CHAIR: patient | 1 |  | No | No | No | No | No | No | No | No | No
ADLBR | ADL Bed Room | FA | WLWA-004 | WALL FINISH: paint, acrylic, washable | 1 |  | No | No | No | No | No | No | No | No | No