## RDS
Standard Components - Room Data Sheet
Date of issue: 20.03.2017
Generated by dRofus (C) dRofus
AusHFG Room Number | Room name | Prog Area | Hours of Operation | Occupancy | Remarks | Acoustics | Description / Special Requirements
BATH | Bathroom | 10 | 24 Hours | 1 patient; 1-2 staff assisting |  | Sound attenuation level medium, Acoustic privacy is required. | The bathroom provides for assisted bathing of patients, patient dressing, undressing, grooming and handwashing. Facilities include a toilet, and handbasin; a separate shower within the room. A fixed island bath may be required depending on specialty, i.e. burns, paediatrics etc. If a fixed island bay is require a hydraulic lift bath may be considered for Health & Safety purposes. The bathroom should allow for manoeuvring of a patient on a lifting device or shower bed. Placement of the toilet should allow assistance from both sides. The room must comply with AS1428. Additional Design Requirements: the shower area must not have a raised hob. The entrance to the bathroom is to be flush with the adjoining corridor. The door is to be fitted with escape hardware. Bariatric capability may be considered, refer to project specific requirements. Air-conditioning and exhaust should be intermittent use and operate when light switch is activated or turned off.

## Items in room
Standard Components - Items in room
Date of issue: 20.03.2017
Generated by dRofus (C) dRofus
Items | [6 empty] | Service allocations
AusHFG Room Code | Room Name | Item list | Item Number | Name | Gross quantity | Comment | Electrical | Data | Cold Water | Hot Water | Warm Water | Tap | Drainage | Gas | Steam
BATH | Bathroom | FA | CLCN-002 | CORNICE: aluminium, 24mm shadow angle, powdercoat | 1 |  | No | No | No | No | No | No | No | No | No
BATH | Bathroom | FA | CLTI-014 | CEILING: plasterboard, water resistant, drop-in tiles, prefinished, 600 x 1200 | 1 | Water resistant flush set suspended also acceptable | No | No | No | No | No | No | No | No | No
BATH | Bathroom | FA | DWPR-005 | DOOR PROTECTION: protection plate to 900 AFFL | 2 | Equal to 'Acrovyn' | No | No | No | No | No | No | No | No | No
BATH | Bathroom | FA | DWPR-010 | DOOR PROTECTION: to door frame, PVC, prefinished | 2 | Equal to 'Acrovyn'. To be decided at project level | No | No | No | No | No | No | No | No | No
BATH | Bathroom | FA | DWSC-021 | DOOR: 1400mm c/o, 1 1/2 leaf, solid core, paint | 1 | Privacy latch | No | No | No | No | No | No | No | No | No
BATH | Bathroom | SE | ELBO-015 | SWITCH: light, single | 1 |  | No | No | No | No | No | No | No | No | No
BATH | Bathroom | SE | ELGP-208 | GPO: double, wall mounted | 1 |  | No | No | No | No | No | No | No | No | No
BATH | Bathroom | FFE | FIBM-006 | MIRROR: fixed, glass | 1 | above basin | No | No | No | No | No | No | No | No | No
BATH | Bathroom | FFE | FIBM-007 | MIRROR: fixed, glass, full length | 1 | dressing | No | No | No | No | No | No | No | No | No
BATH | Bathroom | FFE | FIDI-014 | DISPENSER: disposable glove | 1 | near entry | No | No | No | No | No | No | No | No | No
BATH | Bathroom | FFE | FIDI-025 | DISPENSER: paper/hand towel | 1 | to basin | No | No | No | No | No | No | No | No | No
BATH | Bathroom | FFE | FIDI-030 | DISPENSER: soap | 1 | to basin | No | No | No | No | No | No | No | No | No
BATH | Bathroom | FFE | FIDI-030 | DISPENSER: soap | 1 | to shower | No | No | No | No | No | No | No | No | No
BATH | Bathroom | FFE | FIDI-036 | DISPENSER: toilet paper | 1 |  | No | No | No | No | No | No | No | No | No
BATH | Bathroom | FFE | FIDI-049 | HOLDER: soap/shampoo, non-recessed | 1 | to shower | No | No | No | No | No | No | No | No | No
BATH | Bathroom | FFE | FIGE-001 | BENCH SEAT: fixed, fold up/down, wet area, wall mounted | 1 |  | No | No | No | No | No | No | No | No | No
BATH | Bathroom | FFE | FIHR-026 | HOOK: coat | 2 | 1 at 1200 AFFL for wheelchair users | No | No | No | No | No | No | No | No | No
BATH | Bathroom | FFE | FIJO-191 | SHELF: above basin | 1 |  | No | No | No | No | No | No | No | No | No
BATH | Bathroom | FFE | FIRT-003 | GRAB RAIL: shower, horizontal | 1 |  | No | No | No | No | No | No | No | No | No
BATH | Bathroom | FFE | FIRT-006 | GRAB RAIL: WC | 1 |  | No | No | No | No | No | No | No | No | No
BATH | Bathroom | FFE | FIRT-008 | GRAB RAIL: WC, hinged | 1 | drop down grab rails may be placed both side of the toilet (one with toilet paper dispenser and nurse call) | No | No | No | No | No | No | No | No | No
BATH | Bathroom | FFE | FIRT-016 | RAIL: towel | 1 | with grab rail fixings | No | No | No | No | No | No | No | No | No
BATH | Bathroom | FFE | FIRT-032 | TRACK: curtain, privacy, L shaped | 1 | to entry door | No | No | No | No | No | No | No | No | No
BATH | Bathroom | FFE | FIRT-034 | TRACK: curtain, shower, 90 deg | 1 |  | No | No | No | No | No | No | No | No | No
BATH | Bathroom | FA | FLSK-010 | SKIRTING: vinyl, floor vinyl coved, 150H, prefinished | 1 | Significant colour change from adjacent Corridor to be avoided. Suitable for bare feet. | No | No | No | No | No | No | No | No | No
BATH | Bathroom | FA | FLVY-009 | FLOOR FINISH: vinyl, seamless, coved, wet area, non-slip | 1 |  | No | No | No | No | No | No | No | No | No
BATH | Bathroom | FFE | FQCW-016 | BIN: waste, general, 20L | 1 |  | No | No | No | No | No | No | No | No | No
BATH | Bathroom | FFE | FQCW-037 | BIN: waste, sanitary | 1 |  | No | No | No | No | No | No | No | No | No
BATH | Bathroom | FFE | FQGE-010 | CURTAIN: privacy screen | 1 | to entry door | No | No | No | No | No | No | No | No | No
BATH | Bathroom | FFE | FQGE-011 | CURTAIN: shower | 1 |  | No | No | No | No | No | No | No | No | No
BATH | Bathroom | FFE | FQSM-033 | TROLLEY: shower | 1 |  | No | No | No | No | No | No | No | No | No
BATH | Bathroom | FFE | HYBA-005 | BASIN: handwash, accessible | 1 | With integral shelf for patient belongings or separate shelf. | No | No | Yes | No | Yes | Yes | Yes | No | No
BATH | Bathroom | FFE | HYBA-021 | BATH: adjustable height, hydraulic | 1 | Default = no bath. Depends on project specific requirements, OH&S and operational policy. Warm water if required. | No | No | Yes | No | Yes | Yes | Yes | No | No
BATH | Bathroom | SE | HYDR-004 | DRAIN: floor waste | 2 | Plus special floor drain for height adustable bath if bath required. | No | No | No | No | No | No | Yes | No | No
BATH | Bathroom | FFE | HYTP-020 | SHOWER: hand-held | 1 | low level over bath or located appropriately for shower trolley use if bath not required. Shower head should not come into contact with floor, | No | No | Yes | No | Yes | Yes | Yes | No | No
BATH | Bathroom | FFE | HYTP-020 | SHOWER: hand-held | 1 | to shower, tapware mixer, wall mounted. Shower head should not come in contact with floor. | No | No | Yes | No | Yes | Yes | Yes | No | No
BATH | Bathroom | FFE | HYTP-036 | TAPWARE: mixer, basin, lever action | 1 | short lever taps/lever mixer. | No | No | Yes | No | Yes | No | No | No | No
BATH | Bathroom | FFE | HYTP-039 | TAPWARE: mixer, shower, lever action | 2 |  | No | No | Yes | No | Yes | No | No | No | No
BATH | Bathroom | FFE | HYWC-001 | TOILET SUITE: accessible | 1 | with backrest; concealed cistern optional. | No | No | Yes | No | No | Yes | Yes | No | No
BATH | Bathroom | SE | ITCL-004 | BUTTON: nurse call, emergency | 2 | + indicator button & light | No | No | No | No | No | No | No | No | No
BATH | Bathroom | SE | ITCL-006 | BUTTON: nurse call, patient to staff | 2 | Plus indicator button and light. One may be located on drop down rail beside toilet. | No | No | No | No | No | No | No | No | No
BATH | Bathroom | SE | ITCL-008 | BUTTON: nurse call, staff assist | 2 | Plus indicator button and light | No | No | No | No | No | No | No | No | No
BATH | Bathroom | SE | ITCL-031 | PENDANT: nurse call, patient to staff | 1 | Waterproof for height adjustable bath if required. | No | No | No | No | No | No | No | No | No
BATH | Bathroom | FFE | MMGE-024 | CHAIR: shower | 1 |  | No | No | No | No | No | No | No | No | No
BATH | Bathroom | FA | WLWA-019 | WALL FINISH: vinyl, full height | 1 | To shower area, tiles also acceptable | No | No | No | No | No | No | No | No | No