## RDS
Standard Components - Room Data Sheet
Date of issue: 20.03.2017
Generated by dRofus (C) dRofus
AusHFG Room Number | Room name | Prog Area | Hours of Operation | Occupancy | Remarks | Acoustics | Description / Special Requirements
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | 12 | 24 Hours | Up to 3 |  | Sound attenuation level - medium; acoustic privacy required. | The Patient Change areas are provided for patients to change into gowns, to store their street clothing and to perform personal ablutions. Change Rooms should be divided into Male and Female areas on a proportional basis and will include Change Cubicle, Toilet, handbasin and lockers for secure storage of personal property.

## Items in room
Standard Components - Items in room
Date of issue: 20.03.2017
Generated by dRofus (C) dRofus
Items | [6 empty] | Service allocations
AusHFG Room Code | Room Name | Item list | Item Number | Name | Gross quantity | Comment | Electrical | Data | Cold Water | Hot Water | Warm Water | Tap | Drainage | Gas | Steam
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | FA | CLCN-002 | CORNICE: aluminium, 24mm shadow angle, powdercoat | 1 |  | No | No | No | No | No | No | No | No | No
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | FA | CLTI-008 | CEILING: plasterboard, drop-in tiles, prefinished, 600 x 1200 | 1 |  | No | No | No | No | No | No | No | No | No
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | FA | DWPR-006 | DOOR PROTECTION: protection plate, to 900 AFFL, PVC, prefinished | 1 |  | No | No | No | No | No | No | No | No | No
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | FA | DWPR-010 | DOOR PROTECTION: to door frame, PVC, prefinished | 1 | To be decided at project level. | No | No | No | No | No | No | No | No | No
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | FA | DWSC-003 | DOOR: 910mm c/o, single leaf, solid core, paint | 1 | optional, 910mm outward opening, privacy latch, with emergency release | No | No | No | No | No | No | No | No | No
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | SE | ELBO-015 | SWITCH: light, single | 1 |  | No | No | No | No | No | No | No | No | No
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | SE | ELGP-208 | GPO: double, wall mounted | 1 | Optional. | No | No | No | No | No | No | No | No | No
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | FFE | FIBM-006 | MIRROR: fixed, glass | 1 |  | No | No | No | No | No | No | No | No | No
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | FFE | FIDI-025 | DISPENSER: paper/hand towel | 1 |  | No | No | No | No | No | No | No | No | No
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | FFE | FIDI-030 | DISPENSER: soap | 1 |  | No | No | No | No | No | No | No | No | No
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | FFE | FIDI-036 | DISPENSER: toilet paper | 1 |  | No | No | No | No | No | No | No | No | No
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | FFE | FIGE-003 | BENCH SEAT: fixed, indoor | 1 | To change cubicle. Or chair, consider weight capacity. | No | No | No | No | No | No | No | No | No
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | FFE | FIHR-026 | HOOK: coat | 2 |  | No | No | No | No | No | No | No | No | No
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | FFE | FIJO-191 | SHELF: above basin | 1 | Or integrated with basin. | No | No | No | No | No | No | No | No | No
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | FFE | FIRT-006 | GRAB RAIL: WC | 2 | Ambulant provision. | No | No | No | No | No | No | No | No | No
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | FA | FLSK-010 | SKIRTING: vinyl, floor vinyl coved, 150H, prefinished | 1 | Feather edged vinyl if carpeted | No | No | No | No | No | No | No | No | No
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | FA | FLVY-007 | FLOOR FINISH: vinyl, seamless, coved, standard slip resistant | 1 | Default= vinyl, carpet also acceptable | No | No | No | No | No | No | No | No | No
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | FFE | FQBS-030 | CHAIR: visitor, patient | 1 |  | No | No | No | No | No | No | No | No | No
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | FFE | FQCW-016 | BIN: waste, general, 20L | 1 |  | No | No | No | No | No | No | No | No | No
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | FFE | FQCW-037 | BIN: waste, sanitary | 1 | To Female Change Rooms. Optional, depends on Waste Management Policy. | No | No | No | No | No | No | No | No | No
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | FFE | FQGE-005 | CLOCK: analogue, battery operated | 1 | Optional | No | No | No | No | No | No | No | No | No
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | FFE | FQSN-048 | LOCKER: 2 tier (half size) | 4 | 16 half lockers or quarter lockers. | No | No | No | No | No | No | No | No | No
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | FFE | FQSN-050 | LOCKER: 4 tier (quarter size) | 2 |  | No | No | No | No | No | No | No | No | No
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | FFE | HYBA-011 | BASIN: handwash, Type C | 1 | With vanity, or ensuite basin with integral shelf for patient belongings. | No | No | Yes | No | Yes | Yes | Yes | No | No
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | SE | HYDR-004 | DRAIN: floor waste | 1 |  | No | No | No | No | No | No | Yes | No | No
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | FFE | HYTP-036 | TAPWARE: mixer, basin, lever action | 1 | to basin | No | No | Yes | No | Yes | No | No | No | No
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | FFE | HYWC-006 | TOILET SUITE: patient | 1 |  | No | No | Yes | No | No | Yes | Yes | No | No
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | SE | ITCL-004 | BUTTON: nurse call, emergency | 1 | + indicator button & light | No | No | No | No | No | No | No | No | No
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | SE | ITCL-006 | BUTTON: nurse call, patient to staff | 2 | + indicator button & light. WC and change cubicle. | No | No | No | No | No | No | No | No | No
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | SE | ITCL-008 | BUTTON: nurse call, staff assist | 1 | + indicator button & light | No | No | No | No | No | No | No | No | No
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | FFE | MMGE-048 | LINEN CARRIER: dirty, single | 1 |  | No | No | No | No | No | No | No | No | No
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | FFE | MMGE-122 | TROLLEY: gowns | 1 |  | No | No | No | No | No | No | No | No | No
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | FFE | WLPT-001 | PARTITION: change cubicle | 1 |  | No | No | No | No | No | No | No | No | No
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | FFE | WLPT-005 | PARTITION: toilet | 1 |  | No | No | No | No | No | No | No | No | No
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | FA | WLWA-004 | WALL FINISH: paint, acrylic, washable | 1 |  | No | No | No | No | No | No | No | No | No
CHPT-12 | Change Room - Patient (Male/Female), 12m2 | FA | WLWA-007 | WALL FINISH: splashback | 1 | To basin. Selection of material to comply with Part D Infection Prevention and Control AusHFG. | No | No | No | No | No | No | No | No | No