## Room Data
Standard Components - Room Data Sheet
Date of issue: 28.05.2019
Generated by dRofus (C) dRofus
AusHFG Room Number | Room name | Prog Area | Hours of Operation | Occupancy | Remarks | Acoustics | Description / Special Requirements
CONS-ENT-OP | Consult Room - ENT/ Ophthalmology | 16 | 24 Hours | 1 patient; 1-2 staff, 1-2 visitors |  | Sound attenuation level high, acoustic privacy is essential. | The Consult Room ENT/ Ophthalmology will provide for private consultation and examination of patients for ENT/ Ophthalmology using specialised equipment. The Consult room may also be used for general consultations. A second egress door may be required for staff safety and security and/or staff access, subject to jurisdictional policy. Ready access to a fridge will be required for retrieval of eye medication. If eye testing is provided via a visual acuity chart and mirror, a distance of 3m is required between the eye chart and mirror for effective eye testing.

## Items
Standard Components - Items in room
Date of issue: 28.05.2019
Generated by dRofus (C) dRofus
Items
AusHFG Room Code | Room Name | Item list | Item Number | Name | Gross quantity | Comment
CONS-ENT-OP | Consult Room - ENT/ Ophthalmology | FA | FLVY-007 | FLOOR FINISH: vinyl, seamless, coved, standard slip resistant | 1 | floor finish must be minimum slip rating R10; Pendulum P3 or agreed equivalent to extend under basin
CONS-ENT-OP | Consult Room - ENT/ Ophthalmology | FA | FLSK-010 | SKIRTING: vinyl, floor vinyl coved, 150H, prefinished | 5
CONS-ENT-OP | Consult Room - ENT/ Ophthalmology | FA | DWPR-010 | DOOR PROTECTION: to door frame, PVC, prefinished | 2 | optional
CONS-ENT-OP | Consult Room - ENT/ Ophthalmology | FA | DWPR-005 | DOOR PROTECTION: protection plate to 900 AFFL | 1
CONS-ENT-OP | Consult Room - ENT/ Ophthalmology | FA | WLWA-004 | WALL FINISH: paint, acrylic, washable | 4
CONS-ENT-OP | Consult Room - ENT/ Ophthalmology | FA | WLWA-010 | WALL FINISH: splashback, vinyl | 1 | to hand wash basin 2100mm high
CONS-ENT-OP | Consult Room - ENT/ Ophthalmology | FA | CLTI-002 | CEILING: acoustic, drop-in tiles, 600 x 1200 | 1
CONS-ENT-OP | Consult Room - ENT/ Ophthalmology | FA | CLCN-002 | CORNICE: aluminium, 24mm shadow angle, powdercoat | 1
CONS-ENT-OP | Consult Room - ENT/ Ophthalmology | FA | DWGL-007 | DOOR: 910mm c/o, single leaf, observation panel, solid core/safety glass, paint | 2
CONS-ENT-OP | Consult Room - ENT/ Ophthalmology | FFE | MGFP-002 | FLOWMETER: medical air | 1
CONS-ENT-OP | Consult Room - ENT/ Ophthalmology | FFE | FIHR-019 | BRACKET: for suction bottle | 1
CONS-ENT-OP | Consult Room - ENT/ Ophthalmology | FFE | FIHR-016 | BRACKET: for sharps bin | 1
CONS-ENT-OP | Consult Room - ENT/ Ophthalmology | FFE | FQBS-018 | CHAIR: office, ergonomic | 2
CONS-ENT-OP | Consult Room - ENT/ Ophthalmology | FFE | FQBS-028 | CHAIR: visitor, clinical areas | 2 | consider weight capacity of chair
CONS-ENT-OP | Consult Room - ENT/ Ophthalmology | FFE | FIDI-001 | DISPENSER: alcohol based hand rub | 1
CONS-ENT-OP | Consult Room - ENT/ Ophthalmology | FFE | FIHR-026 | HOOK: coat | 2 | optional
CONS-ENT-OP | Consult Room - ENT/ Ophthalmology | FFE | FIRT-032 | TRACK: curtain, privacy, L shaped | 1
CONS-ENT-OP | Consult Room - ENT/ Ophthalmology | FFE | FQGE-010 | CURTAIN: privacy screen | 1
CONS-ENT-OP | Consult Room - ENT/ Ophthalmology | FFE | FQCW-016 | BIN: waste, general, 20L | 1 | to hand basin
CONS-ENT-OP | Consult Room - ENT/ Ophthalmology | FFE | FIDI-014 | DISPENSER: disposable glove | 1
CONS-ENT-OP | Consult Room - ENT/ Ophthalmology | FFE | FIDI-025 | DISPENSER: paper/hand towel | 1 | to hand basin
CONS-ENT-OP | Consult Room - ENT/ Ophthalmology | FFE | FIDI-030 | DISPENSER: soap | 1 | to hand basin
CONS-ENT-OP | Consult Room - ENT/ Ophthalmology | FFE | FIDI-031 | DISPENSER: soap antiseptic | 1 | to hand basin
CONS-ENT-OP | Consult Room - ENT/ Ophthalmology | FFE | MMGE-113 | TROLLEY: dressing | 1
CONS-ENT-OP | Consult Room - ENT/ Ophthalmology | FFE | FIHR-011 | BRACKET: for monitor, wall mounted | 1 | optional
CONS-ENT-OP | Consult Room - ENT/ Ophthalmology | FFE | MGFP-004 | FLOWMETER: oxygen | 1
CONS-ENT-OP | Consult Room - ENT/ Ophthalmology | FFE | FQCW-044 | BIN: waste, sharps, wall mounted | 1 | wall mounted
CONS-ENT-OP | Consult Room - ENT/ Ophthalmology | FFE | FQBS-051 | STOOL: mobile, adj height | 1
CONS-ENT-OP | Consult Room - ENT/ Ophthalmology | FFE | MMGE-002 | ADAPTER: suction | 1
CONS-ENT-OP | Consult Room - ENT/ Ophthalmology | FFE | MMGE-100 | SUCTION BOTTLE | 1
CONS-ENT-OP | Consult Room - ENT/ Ophthalmology | FFE | FQCW-005 | BIN: waste, clinical, 20L | 1
CONS-ENT-OP | Consult Room - ENT/ Ophthalmology | FFE | FQSM-003 | PEDESTAL: mobile, wire basket unit, 840H | 1
CONS-ENT-OP | Consult Room - ENT/ Ophthalmology | FFE | HYBA-010 | BASIN: handwash, Type B | 1
CONS-ENT-OP | Consult Room - ENT/ Ophthalmology | FFE | HYTP-037 | TAPWARE: mixer, elbow levers | 1
CONS-ENT-OP | Consult Room - ENT/ Ophthalmology | FFE | LIFX-013 | LIGHT: procedure, ceiling mounted, small | 1
CONS-ENT-OP | Consult Room - ENT/ Ophthalmology | FFE | ITNE-009 | COMPUTER: hi performance, for clinical / PACS use | 1
CONS-ENT-OP | Consult Room - ENT/ Ophthalmology | FFE | MMGE-031 | DIAGNOSTIC SET: wall mounted | 1
CONS-ENT-OP | Consult Room - ENT/ Ophthalmology | FFE | MMHA-005 | MONITOR: patient, cardiac | 1 | optional
CONS-ENT-OP | Consult Room - ENT/ Ophthalmology | FFE | MMAH-013 | DEVICE: eye examination, slit lamp | 1
CONS-ENT-OP | Consult Room - ENT/ Ophthalmology | FFE | ITNE-050 | TELEPHONE: handset, desktop, handsfree | 1 | to desk
CONS-ENT-OP | Consult Room - ENT/ Ophthalmology | FFE | FIJO-010 | BENCH: 450D, open under | 1
CONS-ENT-OP | Consult Room - ENT/ Ophthalmology | FFE | FQDW-028 | WORKSTATION: straight, adj height, 1200W x 750D x 750H nom. | 1
CONS-ENT-OP | Consult Room - ENT/ Ophthalmology | FFE | MMGE-171 | BOTTLE: eyewash, portable | 1
CONS-ENT-OP | Consult Room - ENT/ Ophthalmology | FFE | MMGE-173 | PROJECTOR: visual acuity testing, surface mounted | 1 | project on wall, automated chart sizing
CONS-ENT-OP | Consult Room - ENT/ Ophthalmology | FFE | MMGE-174 | CHAIR: patient, ENT, electric | 1
CONS-ENT-OP | Consult Room - ENT/ Ophthalmology | FFE | ITCL-034 | CAMERA: telemedicine | 1 | optional
CONS-ENT-OP | Consult Room - ENT/ Ophthalmology | SE | ITIN-011 | OUTLET: data, single RJ45, ceiling mounted | 1
CONS-ENT-OP | Consult Room - ENT/ Ophthalmology | SE | ITIN-016 | OUTLET: data, single RJ45, wall mounted | 1 | optional, to cardiac monitor
CONS-ENT-OP | Consult Room - ENT/ Ophthalmology | SE | ITIN-026 | OUTLET: data, double RJ45, wall mounted | 2 | outlet for telephone, PC, telemedicine camera, slit lamp
CONS-ENT-OP | Consult Room - ENT/ Ophthalmology | SE | ELPR-006 | RCD: residual current device | 1
CONS-ENT-OP | Consult Room - ENT/ Ophthalmology | SE | ITCL-008 | BUTTON: nurse call, staff assist | 2 | + indicator button & light
CONS-ENT-OP | Consult Room - ENT/ Ophthalmology | SE | MGAS-053 | OUTLET: scavenge, on services panel | 1 | optional, for paediatric use
CONS-ENT-OP | Consult Room - ENT/ Ophthalmology | SE | MGAS-042 | OUTLET: oxygen (O2), on services panel | 1
CONS-ENT-OP | Consult Room - ENT/ Ophthalmology | SE | MGAS-032 | OUTLET: nitrous oxide (N2O), on services panel | 1 | optional, for paediatric use
CONS-ENT-OP | Consult Room - ENT/ Ophthalmology | SE | MGAS-022 | OUTLET: medical air (MA), on services panel | 1
CONS-ENT-OP | Consult Room - ENT/ Ophthalmology | SE | MGAS-062 | OUTLET: suction, on services panel | 1
CONS-ENT-OP | Consult Room - ENT/ Ophthalmology | SE | ITCL-004 | BUTTON: nurse call, emergency | 2 | + indicator button & light
CONS-ENT-OP | Consult Room - ENT/ Ophthalmology | SE | ELGP-223 | GPO: emergency power, double, wall mounted | 2
CONS-ENT-OP | Consult Room - ENT/ Ophthalmology | SE | ELGP-223.1 | GPO: emergency power, double, wall mounted (V) | 1
CONS-ENT-OP | Consult Room - ENT/ Ophthalmology | SE | ELGP-110 | GPO: single, wall mounted, cleaner | 1
CONS-ENT-OP | Consult Room - ENT/ Ophthalmology | SE | ELGP-123 | GPO: emergency power, single, wall mounted | 3 | optional, to cardiac monitor
CONS-ENT-OP | Consult Room - ENT/ Ophthalmology | SE | ITSE-006 | BUTTON: duress, fixed | 1 | optional
CONS-ENT-OP | Consult Room - ENT/ Ophthalmology | SE | MMSP-026 | SERVICES PANEL: wall mounted | 2
CONS-ENT-OP | Consult Room - ENT/ Ophthalmology | SE | ELBO-012 | SWITCH: light, dimmer | 1
CONS-ENT-OP | Consult Room - ENT/ Ophthalmology | SE | ITIN-025 | OUTLET: data, double RJ45, on services panel | 1
CONS-ENT-OP | Consult Room - ENT/ Ophthalmology | SE | ELGP-122 | GPO: emergency power, single, on services panel | 4
CONS-ENT-OP | Consult Room - ENT/ Ophthalmology | SE | ELGP-125 | GPO: emergency power, single, ceiling mounted | 1