## RDS
Standard Components - Room Data Sheet
Date of issue: 05.04.2018
Generated by dRofus (C) dRofus
AusHFG Room Number | Room name | Prog Area | Hours of Operation | Occupancy | Remarks | Acoustics | Description / Special Requirements
CONS-UN | Consult Room - Universal Access | 17 | 24 Hours | 1 patient: 1-2 staff, 1-2 visitors |  | Sound attenuation level high, Acoustic privacy is essential. | The Consult Room - Universal Access will provide for private consultation and physical examination of a range of patients with or without support persons present. The spatial allowance will accommodate patients who (a) are using a wheelchair, including a bariatric sized wheelchair; or (b) require a hoist to transfer. The position of basin, dispensers and other fittings also allows for use by staff in wheelchairs. A second egress door may be required for staff safety and security and/or staff access. It is anticipated that one of these rooms may be provided with a 'pod' of consult rooms. Notes applied to floor ratings respond to current AS 4586 and associated HB198 requirements - compliance with current regulations and jurisdictional policy must be verified by project teams on each project.

## Items in room
Standard Components - Items in room
Date of issue: 05.04.2018
Generated by dRofus (C) dRofus
Items | [6 empty] | Service allocations
AusHFG Room Code | Room Name | Item list | Item Number | Name | Gross quantity | Comment | Electrical | Data | Cold Water | Hot Water | Warm Water | Tap | Drainage | Gas | Steam
CONS-UN | Consult Room - Universal Access | FA | CLCN-002 | CORNICE: aluminium, 24mm shadow angle, powdercoat | 1 |  | No | No | No | No | No | No | No | No | No
CONS-UN | Consult Room - Universal Access | FA | CLTI-002 | CEILING: acoustic, drop-in tiles, 600 x 1200 | 1 |  | No | No | No | No | No | No | No | No | No
CONS-UN | Consult Room - Universal Access | FA | DWGL-033 | DOOR: 1400mm c/o, 1 1/2 leaf, observation panel, solid core/glass, paint | 1 |  | No | No | No | No | No | No | No | No | No
CONS-UN | Consult Room - Universal Access | FA | DWPR-005 | DOOR PROTECTION: protection plate to 900 AFFL | 2 |  | No | No | No | No | No | No | No | No | No
CONS-UN | Consult Room - Universal Access | FA | DWPR-010 | DOOR PROTECTION: to door frame, PVC, prefinished | 2 | optional | No | No | No | No | No | No | No | No | No
CONS-UN | Consult Room - Universal Access | SE | ELBO-015 | SWITCH: light, single | 1 |  | No | No | No | No | No | No | No | No | No
CONS-UN | Consult Room - Universal Access | SE | ELGP-101 | GPO: single, ceiling mounted | 1 | for exam light | No | No | No | No | No | No | No | No | No
CONS-UN | Consult Room - Universal Access | SE | ELGP-105 | GPO: single, on services panel | 1 | diagnostic set | No | No | No | No | No | No | No | No | No
CONS-UN | Consult Room - Universal Access | SE | ELGP-109 | GPO: single, wall mounted | 1 | low level for electric couch | No | No | No | No | No | No | No | No | No
CONS-UN | Consult Room - Universal Access | SE | ELGP-205 | GPO: double, on services panel | 1 | patient examination area | No | No | No | No | No | No | No | No | No
CONS-UN | Consult Room - Universal Access | SE | ELGP-208 | GPO: double, wall mounted | 2 | workstation / desk area | No | No | No | No | No | No | No | No | No
CONS-UN | Consult Room - Universal Access | SE | ELGP-222 | GPO: emergency power, double, on services panel | 1 | patient examination area | No | No | No | No | No | No | No | No | No
CONS-UN | Consult Room - Universal Access | SE | ELPR-006 | RCD: residual current device | 2 | on services panel | No | No | No | No | No | No | No | No | No
CONS-UN | Consult Room - Universal Access | FFE | FIBM-006 | MIRROR: fixed, glass | 1 | optional, for patient changing | No | No | No | No | No | No | No | No | No
CONS-UN | Consult Room - Universal Access | FFE | FIBM-016 | NOTICEBOARD/WHITEBOARD: fixed, combined unit | 1 |  | No | No | No | No | No | No | No | No | No
CONS-UN | Consult Room - Universal Access | FFE | FIDI-001 | DISPENSER: alcohol based hand rub | 1 |  | No | No | No | No | No | No | No | No | No
CONS-UN | Consult Room - Universal Access | FFE | FIDI-003 | DISPENSER: bedroll | 1 | or provided as an attachment to exam couch | No | No | No | No | No | No | No | No | No
CONS-UN | Consult Room - Universal Access | FFE | FIDI-014 | DISPENSER: disposable glove | 1 | to basin | No | No | No | No | No | No | No | No | No
CONS-UN | Consult Room - Universal Access | FFE | FIDI-025 | DISPENSER: paper/hand towel | 1 | to basin | No | No | No | No | No | No | No | No | No
CONS-UN | Consult Room - Universal Access | FFE | FIDI-030 | DISPENSER: soap | 1 | to basin | No | No | No | No | No | No | No | No | No
CONS-UN | Consult Room - Universal Access | FFE | FIDI-031 | DISPENSER: soap antiseptic | 1 | to basin | No | No | No | No | No | No | No | No | No
CONS-UN | Consult Room - Universal Access | FFE | FIHR-016 | BRACKET: for sharps bin | 1 |  | No | No | No | No | No | No | No | No | No
CONS-UN | Consult Room - Universal Access | FFE | FIHR-019 | BRACKET: for suction bottle | 1 | optional | No | No | No | No | No | No | No | No | No
CONS-UN | Consult Room - Universal Access | FFE | FIHR-026 | HOOK: coat | 1 |  | No | No | No | No | No | No | No | No | No
CONS-UN | Consult Room - Universal Access | FFE | FIRT-024 | TRACK: curtain, bedscreen, straight | 1 |  | No | No | No | No | No | No | No | No | No
CONS-UN | Consult Room - Universal Access | FA | FLSK-010 | SKIRTING: vinyl, floor vinyl coved, 150H, prefinished | 5 |  | No | No | No | No | No | No | No | No | No
CONS-UN | Consult Room - Universal Access | FA | FLVY-007 | FLOOR FINISH: vinyl, seamless, coved, standard slip resistant | 1 | floor finish must be minimum slip rating R10; Pendulum P3 or agreed equivalent to extend under basin | No | No | No | No | No | No | No | No | No
CONS-UN | Consult Room - Universal Access | FFE | FQBS-018 | CHAIR: office, ergonomic | 1 |  | No | No | No | No | No | No | No | No | No
CONS-UN | Consult Room - Universal Access | FFE | FQBS-028 | CHAIR: visitor, clinical areas | 3 | consider weight capacity of chair | No | No | No | No | No | No | No | No | No
CONS-UN | Consult Room - Universal Access | FFE | FQCW-016 | BIN: waste, general, 20L | 1 | to basin | No | No | No | No | No | No | No | No | No
CONS-UN | Consult Room - Universal Access | FFE | FQCW-044 | BIN: waste, sharps, wall mounted | 1 | wall mounted | No | No | No | No | No | No | No | No | No
CONS-UN | Consult Room - Universal Access | FFE | FQDW-038 | DESK: adj height, 1000W x 800D x 750H nom. | 1 |  | No | No | No | No | No | No | No | No | No
CONS-UN | Consult Room - Universal Access | FFE | FQGE-009 | CURTAIN: bed screen | 2 |  | No | No | No | No | No | No | No | No | No
CONS-UN | Consult Room - Universal Access | FFE | HYBA-010 | BASIN: handwash, Type B | 1 |  | No | No | Yes | No | Yes | Yes | Yes | No | No
CONS-UN | Consult Room - Universal Access | FFE | HYTP-037 | TAPWARE: mixer, elbow levers | 1 | to basin | No | No | Yes | No | Yes | No | No | No | No
CONS-UN | Consult Room - Universal Access | SE | ITCL-004 | BUTTON: nurse call, emergency | 1 | + indicator button & light | No | No | No | No | No | No | No | No | No
CONS-UN | Consult Room - Universal Access | SE | ITCL-006 | BUTTON: nurse call, patient to staff | 1 | + indicator button & light | No | No | No | No | No | No | No | No | No
CONS-UN | Consult Room - Universal Access | SE | ITCL-008 | BUTTON: nurse call, staff assist | 1 | + indicator button & light | No | No | No | No | No | No | No | No | No
CONS-UN | Consult Room - Universal Access | SE | ITCL-028 | HANDSET: nurse call, with patient to staff call button | 1 |  | No | No | No | No | No | No | No | No | No
CONS-UN | Consult Room - Universal Access | SE | ITIN-025 | OUTLET: data, double RJ45, on services panel | 1 |  | No | Yes | No | No | No | No | No | No | No
CONS-UN | Consult Room - Universal Access | SE | ITIN-026 | OUTLET: data, double RJ45, wall mounted | 1 | 1 outlet for telephone | No | Yes | No | No | No | No | No | No | No
CONS-UN | Consult Room - Universal Access | FFE | ITNE-007 | COMPUTER: desktop, with display screen | 1 | high resolution monitor for PACS viewing | Yes | Yes | No | No | No | No | No | No | No
CONS-UN | Consult Room - Universal Access | FFE | ITNE-023 | PRINTER: networked | 1 | EMR/E-med compatible, printing strategy (centralised vs decentral) to be decided at project level | Yes | Yes | No | No | No | No | No | No | No
CONS-UN | Consult Room - Universal Access | FFE | ITNE-050 | TELEPHONE: handset, desktop, handsfree | 1 |  | No | Yes | No | No | No | No | No | No | No
CONS-UN | Consult Room - Universal Access | SE | ITSE-006 | BUTTON: duress, fixed | 1 | in discreet location easily accessible by staff | No | No | No | No | No | No | No | No | No
CONS-UN | Consult Room - Universal Access | FFE | LIFX-027 | LIGHT: examination, ceiling mounted | 1 | LED or other lamp of equivalent colour quality | Yes | No | No | No | No | No | No | No | No
CONS-UN | Consult Room - Universal Access | SE | MGAS-022 | OUTLET: medical air (MA), on services panel | 1 | optional | No | No | No | No | No | No | No | No | No
CONS-UN | Consult Room - Universal Access | SE | MGAS-042 | OUTLET: oxygen (O2), on services panel | 1 | optional | No | No | No | No | No | No | No | No | No
CONS-UN | Consult Room - Universal Access | SE | MGAS-062 | OUTLET: suction, on services panel | 1 | optional | No | No | No | No | No | No | No | No | No
CONS-UN | Consult Room - Universal Access | FFE | MGFP-002 | FLOWMETER: medical air | 1 | optional | No | No | No | No | No | No | No | No | No
CONS-UN | Consult Room - Universal Access | FFE | MGFP-004 | FLOWMETER: oxygen | 1 | optional | No | No | No | No | No | No | No | No | No
CONS-UN | Consult Room - Universal Access | FFE | MMBE-052 | LIFTER: patient, ceiling mounted, cassette motor for track | 1 |  | No | No | No | No | No | No | No | No | No
CONS-UN | Consult Room - Universal Access | FFE | MMBE-054 | LIFTER: patient, ceiling mounted, sling component | 1 |  | No | No | No | No | No | No | No | No | No
CONS-UN | Consult Room - Universal Access | FFE | MMBE-056 | LIFTER: patient, ceiling mounted, track, linear | 1 |  | No | No | No | No | No | No | No | No | No
CONS-UN | Consult Room - Universal Access | FFE | MMBE-064 | COUCH: examination, electric, mobile, bariatric | 1 |  | No | No | No | No | No | No | No | No | No
CONS-UN | Consult Room - Universal Access | FFE | MMGE-002 | ADAPTER: suction | 1 | optional | No | No | No | No | No | No | No | No | No
CONS-UN | Consult Room - Universal Access | FFE | MMGE-031 | DIAGNOSTIC SET: wall mounted | 1 |  | Yes | No | No | No | No | No | No | No | No
CONS-UN | Consult Room - Universal Access | FFE | MMGE-091 | SPHYGMOMANOMETER: portable | 1 | 1 per 6 consult rooms | No | No | No | No | No | No | No | No | No
CONS-UN | Consult Room - Universal Access | FFE | MMGE-100 | SUCTION BOTTLE | 1 | optional | No | No | No | No | No | No | No | No | No
CONS-UN | Consult Room - Universal Access | SE | MMSP-026 | SERVICES PANEL: wall mounted | 1 |  | No | No | No | No | No | No | No | No | No
CONS-UN | Consult Room - Universal Access | FA | WLWA-004 | WALL FINISH: paint, acrylic, washable | 1 |  | No | No | No | No | No | No | No | No | No
CONS-UN | Consult Room - Universal Access | FA | WLWA-021 | WALL FINISH: vinyl, to 1800 AFFL | 1 |  | No | No | No | No | No | No | No | No | No