## RDS
Standard Components - Room Data Sheet
Date of issue: 20.03.2017
Generated by dRofus (C) dRofus
AusHFG Room Number | Room name | Prog Area | Hours of Operation | Occupancy | Remarks | Acoustics | Description / Special Requirements
DINBEV-25 | Dining Room/Beverage Bay (Mental Health), 25m2 | 25 | 24 Hours | Up to 8 patients; 1-2 staff |  | Sound attenuation level medium, Acoustic privacy is required. | The Dining Room/ Beverage Bay is an area provided for patients within the Mental Health Unit to eat their meals, away from the bedroom environment. The Dining Room may be used for other patient activities when not in use for meals. Access and dining space should be provided for patients with disabilities. The Beverage Bay will include a servery counter and will require restricted access. Access to an external courtyard area is desirable. Finishes, fittings & fixtures and furniture should be suitable for mental health patients. All glazing (including external windows) is to be Grade A safety glass to comply with AS/NZS 2208 and AS 1288, specifically, toughened laminated glass with a standard nominal thickness of 10.38mm, or equivalent approved. Dimmable lights are optional.

## Items in room
Standard Components - Items in room
Date of issue: 20.03.2017
Generated by dRofus (C) dRofus
Items | [6 empty] | Service allocations
AusHFG Room Code | Room Name | Item list | Item Number | Name | Gross quantity | Comment | Electrical | Data | Cold Water | Hot Water | Warm Water | Tap | Drainage | Gas | Steam
DINBEV-25 | Dining Room/Beverage Bay (Mental Health), 25m2 | FA | CLCN-002 | CORNICE: aluminium, 24mm shadow angle, powdercoat | 1 |  | No | No | No | No | No | No | No | No | No
DINBEV-25 | Dining Room/Beverage Bay (Mental Health), 25m2 | FA | CLFS-006 | CEILING: plasterboard, flush set, suspended, paint, washable | 1 |  | No | No | No | No | No | No | No | No | No
DINBEV-25 | Dining Room/Beverage Bay (Mental Health), 25m2 | FA | DWGL-003 | DOOR: 910mm c/o, single leaf, half glazed, solid core/safety glass, paint | 1 | to Beverage Bay; 910mm clear opening; door hardware to not provide ligature points | No | No | No | No | No | No | No | No | No
DINBEV-25 | Dining Room/Beverage Bay (Mental Health), 25m2 | FA | DWGL-030 | DOOR: 1400mm c/o, 1 1/2 leaf, fully glazed, alum/safety glass, powdercoat/paint | 2 | Entry/Exit doors; 1400mm clear opening; door hardware to not provide ligature points | No | No | No | No | No | No | No | No | No
DINBEV-25 | Dining Room/Beverage Bay (Mental Health), 25m2 | FA | DWOB-006 | OBSERVATION: internal window, alum/safety glass, double glazed, integral venetian blind, powdercoat | 1 | optional | No | No | No | No | No | No | No | No | No
DINBEV-25 | Dining Room/Beverage Bay (Mental Health), 25m2 | FFE | DWWD-003 | BLIND: integral | 2 | to external windows as required | No | No | No | No | No | No | No | No | No
DINBEV-25 | Dining Room/Beverage Bay (Mental Health), 25m2 | FFE | DWWD-007 | BLIND: venetian, integral | 2 |  | No | No | No | No | No | No | No | No | No
DINBEV-25 | Dining Room/Beverage Bay (Mental Health), 25m2 | FFE | DWWH-004 | SHUTTER: roller, manual | 1 | lockable, to Bev Bay; heavy duty | No | No | No | No | No | No | No | No | No
DINBEV-25 | Dining Room/Beverage Bay (Mental Health), 25m2 | FA | DWWH-005 | WINDOW | 1 | safety glass, desirable | No | No | No | No | No | No | No | No | No
DINBEV-25 | Dining Room/Beverage Bay (Mental Health), 25m2 | SE | ELBO-015 | SWITCH: light, single | 2 |  | No | No | No | No | No | No | No | No | No
DINBEV-25 | Dining Room/Beverage Bay (Mental Health), 25m2 | SE | ELGP-109 | GPO: single, wall mounted | 4 | BWU, fridge, microwave, clock | No | No | No | No | No | No | No | No | No
DINBEV-25 | Dining Room/Beverage Bay (Mental Health), 25m2 | SE | ELGP-110 | GPO: single, wall mounted, cleaner | 1 |  | No | No | No | No | No | No | No | No | No
DINBEV-25 | Dining Room/Beverage Bay (Mental Health), 25m2 | SE | ELGP-208 | GPO: double, wall mounted | 6 | 2 above bench | No | No | No | No | No | No | No | No | No
DINBEV-25 | Dining Room/Beverage Bay (Mental Health), 25m2 | FFE | FIBM-013 | NOTICEBOARD: fixed, fabric covered | 1 | 900x900, optional; recessed, not removable | No | No | No | No | No | No | No | No | No
DINBEV-25 | Dining Room/Beverage Bay (Mental Health), 25m2 | FFE | FIDI-025 | DISPENSER: paper/hand towel | 1 | to sink; plastic; no ligature points; no sharp edges | No | No | No | No | No | No | No | No | No
DINBEV-25 | Dining Room/Beverage Bay (Mental Health), 25m2 | FFE | FIDI-030 | DISPENSER: soap | 1 | to sink; no ligature points; no sharp edges | No | No | No | No | No | No | No | No | No
DINBEV-25 | Dining Room/Beverage Bay (Mental Health), 25m2 | FFE | FIJO-059 | BENCH TOP: 600D, joinery under, laminate finish | 2 | with inset sink | No | No | No | No | No | No | No | No | No
DINBEV-25 | Dining Room/Beverage Bay (Mental Health), 25m2 | FFE | FIJO-106 | CUPBOARD: drawer unit, 4 equal | 1 | lockable | No | No | No | No | No | No | No | No | No
DINBEV-25 | Dining Room/Beverage Bay (Mental Health), 25m2 | FFE | FIJO-136 | CUPBOARD: underbench, double door, adj shelves, lockable | 2 |  | No | No | No | No | No | No | No | No | No
DINBEV-25 | Dining Room/Beverage Bay (Mental Health), 25m2 | FFE | FIJO-145 | CUPBOARD: wall mount, double door, adj shelves, lockable | 1 | over bench | No | No | No | No | No | No | No | No | No
DINBEV-25 | Dining Room/Beverage Bay (Mental Health), 25m2 | FFE | FIJO-157 | CUPBOARD: wall mount, single door, adj shelves, lockable | 1 |  | No | No | No | No | No | No | No | No | No
DINBEV-25 | Dining Room/Beverage Bay (Mental Health), 25m2 | FFE | FIJO-207 | CUPBOARD: wall mount, shelf unit, adj shelves for microwave, short | 1 | over bench | No | No | No | No | No | No | No | No | No
DINBEV-25 | Dining Room/Beverage Bay (Mental Health), 25m2 | FA | FLSK-010 | SKIRTING: vinyl, floor vinyl coved, 150H, prefinished | 1 |  | No | No | No | No | No | No | No | No | No
DINBEV-25 | Dining Room/Beverage Bay (Mental Health), 25m2 | FA | FLVY-007 | FLOOR FINISH: vinyl, seamless, coved, standard slip resistant | 1 |  | No | No | No | No | No | No | No | No | No
DINBEV-25 | Dining Room/Beverage Bay (Mental Health), 25m2 | FFE | FQBS-015 | CHAIR: dining | 8 | with space for wheelchair/s | No | No | No | No | No | No | No | No | No
DINBEV-25 | Dining Room/Beverage Bay (Mental Health), 25m2 | FFE | FQCA-038 | FRIDGE: domestic, underbench, 80L | 1 |  | Yes | No | No | No | No | No | No | No | No
DINBEV-25 | Dining Room/Beverage Bay (Mental Health), 25m2 | FFE | FQCA-067 | OVEN: microwave, domestic | 1 |  | Yes | No | No | No | No | No | No | No | No
DINBEV-25 | Dining Room/Beverage Bay (Mental Health), 25m2 | FFE | FQCW-016 | BIN: waste, general, 20L | 1 | under bench | No | No | No | No | No | No | No | No | No
DINBEV-25 | Dining Room/Beverage Bay (Mental Health), 25m2 | FFE | FQGE-002 | ARTWORK | 2 | optional; recessed, not removable | No | No | No | No | No | No | No | No | No
DINBEV-25 | Dining Room/Beverage Bay (Mental Health), 25m2 | FFE | FQTA-077 | TABLE: square, 800W, dining height | 3 |  | No | No | No | No | No | No | No | No | No
DINBEV-25 | Dining Room/Beverage Bay (Mental Health), 25m2 | FFE | HYBA-069 | SINK: single, with drainer, 930mmL | 1 | warm water | No | No | Yes | Yes | Yes | Yes | Yes | No | No
DINBEV-25 | Dining Room/Beverage Bay (Mental Health), 25m2 | FFE | HYGE-008 | BOILING WATER UNIT: 5 Litre | 1 |  | Yes | No | Yes | No | No | Yes | Yes | No | No
DINBEV-25 | Dining Room/Beverage Bay (Mental Health), 25m2 | FFE | HYTP-037 | TAPWARE: mixer, elbow levers | 1 |  | No | No | Yes | No | Yes | No | No | No | No
DINBEV-25 | Dining Room/Beverage Bay (Mental Health), 25m2 | SE | ITCL-004 | BUTTON: nurse call, emergency | 1 | or Duress call | No | No | No | No | No | No | No | No | No
DINBEV-25 | Dining Room/Beverage Bay (Mental Health), 25m2 | FFE | ITCL-014 | CLOCK: analogue, electric | 1 | recessed | Yes | No | No | No | No | No | No | No | No
DINBEV-25 | Dining Room/Beverage Bay (Mental Health), 25m2 | FFE | ITNE-053 | TELEPHONE: handset, wall mount, handsfree | 1 |  | No | Yes | No | No | No | No | No | No | No
DINBEV-25 | Dining Room/Beverage Bay (Mental Health), 25m2 | FA | WLWA-004 | WALL FINISH: paint, acrylic, washable | 1 |  | No | No | No | No | No | No | No | No | No
DINBEV-25 | Dining Room/Beverage Bay (Mental Health), 25m2 | FA | WLWA-010 | WALL FINISH: splashback, vinyl | 1 | to Bev. Bay; tiles also acceptable | No | No | No | No | No | No | No | No | No