## RDS
Standard Components - Room Data Sheet
Date of issue: 20.03.2017
Generated by dRofus (C) dRofus
AusHFG Room Number | Room name | Prog Area | Hours of Operation | Occupancy | Remarks | Acoustics | Description / Special Requirements
DINR | Dining - Patients | 72 | 24 Hours | 24 patients seated, 1-2 staff intermittently |  | Acoustics: sound attenuation level-high; acoustic privacy is required. | The Dining Room is an area provided for patients to eat their meals away from the bedroom environment in an inpatient setting. The Dining Room may be used for other patient recreational activities when not in use for meals. In this instance attention to sound separation must be considered. Size of space will depend on number of beds and Models of Care, designed area based on 3m2 per person. Access and dining space will be required for patients with limited mobility including wheelchairs, walking frames and other walking aids. Design must also consider the needs of dementia patients and frail/elderly. Special design considerations: Natural light and outlook essential. Domestic appearance. Constant lighting across space. Beverage Bay and/or an ADL Kitchen may be collocated depending on Model of Care requirements.

## Items in room
Standard Components - Items in room
Date of issue: 20.03.2017
Generated by dRofus (C) dRofus
Items | [6 empty] | Service allocations
AusHFG Room Code | Room Name | Item list | Item Number | Name | Gross quantity | Comment | Electrical | Data | Cold Water | Hot Water | Warm Water | Tap | Drainage | Gas | Steam
DINR | Dining - Patients | FA | CLCN-002 | CORNICE: aluminium, 24mm shadow angle, powdercoat | 1 |  | No | No | No | No | No | No | No | No | No
DINR | Dining - Patients | FA | CLTI-002 | CEILING: acoustic, drop-in tiles, 600 x 1200 | 1 |  | No | No | No | No | No | No | No | No | No
DINR | Dining - Patients | FA | DWGL-033 | DOOR: 1400mm c/o, 1 1/2 leaf, observation panel, solid core/glass, paint | 2 | 1200mm (single door) or 1400mm (1+1/2 doors) clear opening. Glazing optional, lockable. | No | No | No | No | No | No | No | No | No
DINR | Dining - Patients | FA | DWPR-006 | DOOR PROTECTION: protection plate, to 900 AFFL, PVC, prefinished | 1 |  | No | No | No | No | No | No | No | No | No
DINR | Dining - Patients | FA | DWPR-010 | DOOR PROTECTION: to door frame, PVC, prefinished | 1 | Optional. To be decided at project level | No | No | No | No | No | No | No | No | No
DINR | Dining - Patients | FFE | DWWD-013 | WINDOW DRESSING: external window | 3 | To external window as required. Number to suit window configuration. | No | No | No | No | No | No | No | No | No
DINR | Dining - Patients | FA | DWWH-005 | WINDOW | 1 | Essential | No | No | No | No | No | No | No | No | No
DINR | Dining - Patients | SE | ELBO-015 | SWITCH: light, single | 2 |  | No | No | No | No | No | No | No | No | No
DINR | Dining - Patients | SE | ELGP-109 | GPO: single, wall mounted | 1 | Optional, if television required. | No | No | No | No | No | No | No | No | No
DINR | Dining - Patients | SE | ELGP-208 | GPO: double, wall mounted | 3 | Around room. | No | No | No | No | No | No | No | No | No
DINR | Dining - Patients | FFE | FIDI-001 | DISPENSER: alcohol based hand rub | 1 |  | No | No | No | No | No | No | No | No | No
DINR | Dining - Patients | FFE | FIHR-006 | BRACKET: for display screen, wall mounted | 1 | Optional | No | No | No | No | No | No | No | No | No
DINR | Dining - Patients | FA | FLSK-010 | SKIRTING: vinyl, floor vinyl coved, 150H, prefinished | 1 |  | No | No | No | No | No | No | No | No | No
DINR | Dining - Patients | FA | FLVY-007 | FLOOR FINISH: vinyl, seamless, coved, standard slip resistant | 1 | Significant change in colour to be avoided | No | No | No | No | No | No | No | No | No
DINR | Dining - Patients | FFE | FQBS-015 | CHAIR: dining | 24 |  | No | No | No | No | No | No | No | No | No
DINR | Dining - Patients | FFE | FQCW-016 | BIN: waste, general, 20L | 1 |  | No | No | No | No | No | No | No | No | No
DINR | Dining - Patients | FFE | FQTA-059 | TABLE: square, 1100W, dining height | 6 |  | No | No | No | No | No | No | No | No | No
DINR | Dining - Patients | FFE | ITAV-017 | PLAYER: DVD | 1 | Optional. May be replaced by newer technology. | No | No | No | No | No | No | No | No | No
DINR | Dining - Patients | FFE | ITBU-011 | DISPLAY SCREEN: MATV | 1 | Optional | Yes | Yes | No | No | No | No | No | No | No
DINR | Dining - Patients | SE | ITCL-004 | BUTTON: nurse call, emergency | 1 | + indicator button and light | No | No | No | No | No | No | No | No | No
DINR | Dining - Patients | SE | ITCL-006 | BUTTON: nurse call, patient to staff | 2 | + indicator button and light | No | No | No | No | No | No | No | No | No
DINR | Dining - Patients | SE | ITCL-008 | BUTTON: nurse call, staff assist | 2 | + indicator button and light | No | No | No | No | No | No | No | No | No
DINR | Dining - Patients | SE | ITIN-016 | OUTLET: data, single RJ45, wall mounted | 1 |  | No | No | No | No | No | No | No | No | No
DINR | Dining - Patients | SE | ITIN-070 | OUTLET: MATV | 1 | May be replaced with data outlet, in accordance with ICT policy | No | No | No | No | No | No | No | No | No
DINR | Dining - Patients | FFE | ITNE-053 | TELEPHONE: handset, wall mount, handsfree | 1 |  | No | Yes | No | No | No | No | No | No | No
DINR | Dining - Patients | FA | WLPR-011 | WALL PROTECTION: corner guards, to 900 AFFL min. | 1 |  | No | No | No | No | No | No | No | No | No
DINR | Dining - Patients | FA | WLWA-004 | WALL FINISH: paint, acrylic, washable | 1 |  | No | No | No | No | No | No | No | No | No