## RDS
Standard Components - Room Data Sheet
Date of issue: 20.03.2017
Generated by dRofus (C) dRofus
AusHFG Room Number | Room name | Prog Area | Hours of Operation | Occupancy | Remarks | Acoustics | Description / Special Requirements
LNPT-10 | Lounge - Patient/ Family, 10m2 | 10 | 24 Hours | Up to 6 patients/ visitors; 1-2 staff intermittently |  | Sound attenuation level medium, Acoustic privacy is required. | The Patient Lounge provides a change of environment away from clinical areas for patients and visitors. It is an area where family groups can visit and patients can socialise. An external outlook is essential. Access for patient lifter and bed may be required.

## Items in room
Standard Components - Items in room
Date of issue: 20.03.2017
Generated by dRofus (C) dRofus
Items | [6 empty] | Service allocations
AusHFG Room Code | Room Name | Item list | Item Number | Name | Gross quantity | Comment | Electrical | Data | Cold Water | Hot Water | Warm Water | Tap | Drainage | Gas | Steam
LNPT-10 | Lounge - Patient/ Family, 10m2 | FA | CLTI-002 | CEILING: acoustic, drop-in tiles, 600 x 1200 | 1 |  | No | No | No | No | No | No | No | No | No
LNPT-10 | Lounge - Patient/ Family, 10m2 | FA | DWGL-031 | DOOR: 1400mm c/o, 1 1/2 leaf, half glazed, solid core/glass, paint | 1 | 910mm/ 1400mm clear opening, small door leaf optional | No | No | No | No | No | No | No | No | No
LNPT-10 | Lounge - Patient/ Family, 10m2 | FA | DWOB-005 | OBSERVATION: internal window, alum/glass, powdercoat | 1 | optional | No | No | No | No | No | No | No | No | No
LNPT-10 | Lounge - Patient/ Family, 10m2 | FA | DWPR-006 | DOOR PROTECTION: protection plate, to 900 AFFL, PVC, prefinished | 1 | equal to Acrovyn | No | No | No | No | No | No | No | No | No
LNPT-10 | Lounge - Patient/ Family, 10m2 | FA | DWPR-010 | DOOR PROTECTION: to door frame, PVC, prefinished | 1 | equal to Acrovyn | No | No | No | No | No | No | No | No | No
LNPT-10 | Lounge - Patient/ Family, 10m2 | FFE | DWWD-011 | CURTAIN: window, drapes | 1 | or blinds | No | No | No | No | No | No | No | No | No
LNPT-10 | Lounge - Patient/ Family, 10m2 | FA | DWWH-005 | WINDOW | 1 | essential | No | No | No | No | No | No | No | No | No
LNPT-10 | Lounge - Patient/ Family, 10m2 | SE | ELBO-015 | SWITCH: light, single | 1 |  | No | No | No | No | No | No | No | No | No
LNPT-10 | Lounge - Patient/ Family, 10m2 | SE | ELGP-106 | GPO: single, special, for equipment | 1 | TV, optional | No | No | No | No | No | No | No | No | No
LNPT-10 | Lounge - Patient/ Family, 10m2 | SE | ELGP-109 | GPO: single, wall mounted | 4 |  | No | No | No | No | No | No | No | No | No
LNPT-10 | Lounge - Patient/ Family, 10m2 | SE | ELGP-110 | GPO: single, wall mounted, cleaner | 1 | as required | No | No | No | No | No | No | No | No | No
LNPT-10 | Lounge - Patient/ Family, 10m2 | SE | ELGP-208 | GPO: double, wall mounted | 1 |  | No | No | No | No | No | No | No | No | No
LNPT-10 | Lounge - Patient/ Family, 10m2 | FFE | FIHR-006 | BRACKET: for display screen, wall mounted | 1 | optional | No | No | No | No | No | No | No | No | No
LNPT-10 | Lounge - Patient/ Family, 10m2 | FFE | FIRT-030 | TRACK: curtain, flat pelmet | 1 |  | No | No | No | No | No | No | No | No | No
LNPT-10 | Lounge - Patient/ Family, 10m2 | FA | FLCP-003 | FLOOR FINISH: carpet, broadloom, 48 oz., 90/10 wool/nylon | 1 | default = carpet; vinyl also acceptable | No | No | No | No | No | No | No | No | No
LNPT-10 | Lounge - Patient/ Family, 10m2 | FA | FLSK-009 | SKIRTING: vinyl, feather edged, 150H, prefinished | 1 | or vinyl coved skirting | No | No | No | No | No | No | No | No | No
LNPT-10 | Lounge - Patient/ Family, 10m2 | FFE | FQBS-030 | CHAIR: visitor, patient | 2 |  | No | No | No | No | No | No | No | No | No
LNPT-10 | Lounge - Patient/ Family, 10m2 | FFE | FQGE-002 | ARTWORK | 2 | optional | No | No | No | No | No | No | No | No | No
LNPT-10 | Lounge - Patient/ Family, 10m2 | FFE | FQTA-075 | TABLE: square, 600W, low height | 2 |  | No | No | No | No | No | No | No | No | No
LNPT-10 | Lounge - Patient/ Family, 10m2 | FFE | ITBU-011 | DISPLAY SCREEN: MATV | 1 | optional, 54cm screen | Yes | Yes | No | No | No | No | No | No | No
LNPT-10 | Lounge - Patient/ Family, 10m2 | SE | ITCL-004 | BUTTON: nurse call, emergency | 1 | + indicator button & light | No | No | No | No | No | No | No | No | No
LNPT-10 | Lounge - Patient/ Family, 10m2 | SE | ITCL-006 | BUTTON: nurse call, patient to staff | 1 | + indicator button & light | No | No | No | No | No | No | No | No | No
LNPT-10 | Lounge - Patient/ Family, 10m2 | SE | ITCL-008 | BUTTON: nurse call, staff assist | 1 | + indicator button & light | No | No | No | No | No | No | No | No | No
LNPT-10 | Lounge - Patient/ Family, 10m2 | SE | ITCL-028 | HANDSET: nurse call, with patient to staff call button | 1 | + indicator button & light | No | No | No | No | No | No | No | No | No
LNPT-10 | Lounge - Patient/ Family, 10m2 | SE | ITIN-026 | OUTLET: data, double RJ45, wall mounted | 1 | 1 outlet for telephone | No | No | No | No | No | No | No | No | No
LNPT-10 | Lounge - Patient/ Family, 10m2 | SE | ITIN-070 | OUTLET: MATV | 1 | optional | No | No | No | No | No | No | No | No | No
LNPT-10 | Lounge - Patient/ Family, 10m2 | FFE | ITNE-049 | TELEPHONE: handset, desktop | 1 | optional, on table | No | Yes | No | No | No | No | No | No | No
LNPT-10 | Lounge - Patient/ Family, 10m2 | FFE | MMGE-019 | CHAIR: patient | 4 | adjustable height may be required | No | No | No | No | No | No | No | No | No
LNPT-10 | Lounge - Patient/ Family, 10m2 | FA | WLWA-004 | WALL FINISH: paint, acrylic, washable | 1 |  | No | No | No | No | No | No | No | No | No