## RDS
Standard Components - Room Data Sheet
Date of issue: 20.03.2017
Generated by dRofus (C) dRofus
AusHFG Room Number | Room name | Prog Area | Hours of Operation | Occupancy | Remarks | Acoustics | Description / Special Requirements
MEET-L-20 | Meeting Room, 20m2 | 20 | Available 24 Hours | Up to 16 |  | Sound attenuation level high, Acoustic privacy is required. | A multipurpose room for staff meetings, teaching, training/education and patient group activities. This room may also accommodate other meetings such as those held with the visiting Magistrate Review Hearings in Mental Health units. Refer to AusHFG Mental Health HPUs for specific requirements. Seek audiovisual expertise for complex, project specific requirements. An external outlook is desirable. A second egress door may be required for staff safety and security. A specific requirement for Magistrate Review Hearings. The room may be located in close proximity to a Beverage Bay as required. Size of space and FF&E quantity/type to be adapted to suit specific project briefing requirements as per AusHFG HPUs. Add 1.2m2 per additional person and allow 1.5m2 for wheelchair parking space as required.

## Items in room
Standard Components - Items in room
Date of issue: 20.03.2017
Generated by dRofus (C) dRofus
Items | [6 empty] | Service allocations
AusHFG Room Code | Room Name | Item list | Item Number | Name | Gross quantity | Comment | Electrical | Data | Cold Water | Hot Water | Warm Water | Tap | Drainage | Gas | Steam
MEET-L-20 | Meeting Room, 20m2 | FA | CLCN-002 | CORNICE: aluminium, 24mm shadow angle, powdercoat | 1 |  | No | No | No | No | No | No | No | No | No
MEET-L-20 | Meeting Room, 20m2 | FA | CLTI-002 | CEILING: acoustic, drop-in tiles, 600 x 1200 | 1 |  | No | No | No | No | No | No | No | No | No
MEET-L-20 | Meeting Room, 20m2 | FA | DWGL-005 | DOOR: 910mm c/o, single leaf, observation panel, solid core/glass, paint | 1 | Lockable | No | No | No | No | No | No | No | No | No
MEET-L-20 | Meeting Room, 20m2 | FA | DWOB-004 | OBSERVATION: internal window, alum/glass, internal blinds, powdercoat | 1 | Optional | No | No | No | No | No | No | No | No | No
MEET-L-20 | Meeting Room, 20m2 | FA | DWPR-006 | DOOR PROTECTION: protection plate, to 900 AFFL, PVC, prefinished | 1 |  | No | No | No | No | No | No | No | No | No
MEET-L-20 | Meeting Room, 20m2 | FA | DWPR-010 | DOOR PROTECTION: to door frame, PVC, prefinished | 1 | Optional. To be decided at project level. | No | No | No | No | No | No | No | No | No
MEET-L-20 | Meeting Room, 20m2 | FA | DWSC-003 | DOOR: 910mm c/o, single leaf, solid core, paint | 1 | Egress door, may also be required for magistrate's use in Mental Health units, optional. | No | No | No | No | No | No | No | No | No
MEET-L-20 | Meeting Room, 20m2 | FFE | DWWD-013 | WINDOW DRESSING: external window | 1 | Number to align with window configuration, if provided. Window dressing type to comply with Infection Control policy. Blackout may be required for audiovisual presentations and video-conferencing, if required. | No | No | No | No | No | No | No | No | No
MEET-L-20 | Meeting Room, 20m2 | FA | DWWH-005 | WINDOW | 1 | desirable | No | No | No | No | No | No | No | No | No
MEET-L-20 | Meeting Room, 20m2 | SE | ELBO-015 | SWITCH: light, single | 1 |  | No | No | No | No | No | No | No | No | No
MEET-L-20 | Meeting Room, 20m2 | SE | ELGP-203 | GPO: double, in floorbox | 2 |  | No | No | No | No | No | No | No | No | No
MEET-L-20 | Meeting Room, 20m2 | SE | ELGP-208 | GPO: double, wall mounted | 5 | 1 above bench if provided | No | No | No | No | No | No | No | No | No
MEET-L-20 | Meeting Room, 20m2 | FFE | FIBM-013 | NOTICEBOARD: fixed, fabric covered | 2 |  | No | No | No | No | No | No | No | No | No
MEET-L-20 | Meeting Room, 20m2 | FFE | FIBM-019 | WHITEBOARD: fixed, magnetic | 1 |  | No | No | No | No | No | No | No | No | No
MEET-L-20 | Meeting Room, 20m2 | FFE | FIHR-006 | BRACKET: for display screen, wall mounted | 1 |  | No | No | No | No | No | No | No | No | No
MEET-L-20 | Meeting Room, 20m2 | FFE | FIJO-052 | BENCH TOP: 450D, joinery under, laminate finish | 1 | Optional. Length to suit layout, refer RLS or project specific requirements. | No | No | No | No | No | No | No | No | No
MEET-L-20 | Meeting Room, 20m2 | FFE | FIJO-136 | CUPBOARD: underbench, double door, adj shelves, lockable | 1 | Optional. Number to suit layout, refer RLS or project specific requirements. Storage solution for consumables and equipment to meet project specific Infection Control and OHS requirements. | No | No | No | No | No | No | No | No | No
MEET-L-20 | Meeting Room, 20m2 | FA | FLCP-006 | FLOOR FINISH: carpet, carpet tiles, 90/10 wool/nylon | 1 | Slip resistant vinyl also acceptable. | No | No | No | No | No | No | No | No | No
MEET-L-20 | Meeting Room, 20m2 | FA | FLSK-009 | SKIRTING: vinyl, feather edged, 150H, prefinished | 1 |  | No | No | No | No | No | No | No | No | No
MEET-L-20 | Meeting Room, 20m2 | FFE | FQBS-017 | CHAIR: meeting room | 16 | May be stackable. Heavy duty for Review Hearings. | No | No | No | No | No | No | No | No | No
MEET-L-20 | Meeting Room, 20m2 | FFE | FQCW-016 | BIN: waste, general, 20L | 1 |  | No | No | No | No | No | No | No | No | No
MEET-L-20 | Meeting Room, 20m2 | FFE | FQGE-005 | CLOCK: analogue, battery operated | 1 |  | No | No | No | No | No | No | No | No | No
MEET-L-20 | Meeting Room, 20m2 | FFE | FQTA-017 | TABLE: rectangular 1200L x 900W, work height | 4 | Smaller tables may be located together. Folding or general use, heavy duty for Review Hearings. | No | No | No | No | No | No | No | No | No
MEET-L-20 | Meeting Room, 20m2 | FFE | ITAV-051 | DISPLAY SCREEN: audio visual | 1 | Image projection. Number and size of monitor/s to suit project specific requirements. Video-conferencing for Magistrate Hearings optional, to be confirmed at project level. Provide conduit for wiring from monitors to services floor box. MATV optional. | Yes | Yes | No | No | No | No | No | No | No
MEET-L-20 | Meeting Room, 20m2 | SE | ITCL-004 | BUTTON: nurse call, emergency | 1 | + indicator button & light, optional. For patient group/education purposes only. Will not be required in staff areas. | No | No | No | No | No | No | No | No | No
MEET-L-20 | Meeting Room, 20m2 | SE | ITIN-022 | OUTLET: data, double RJ45, in floorbox | 1 |  | No | No | No | No | No | No | No | No | No
MEET-L-20 | Meeting Room, 20m2 | SE | ITIN-026 | OUTLET: data, double RJ45, wall mounted | 2 |  | No | No | No | No | No | No | No | No | No
MEET-L-20 | Meeting Room, 20m2 | SE | ITIN-036 | OUTLET: data, triple RJ45, wall mounted | 1 | Optional, on wall for video-conferencing unit (minimum requirement for VC is 1-triple outlet) | No | No | No | No | No | No | No | No | No
MEET-L-20 | Meeting Room, 20m2 | SE | ITIN-070 | OUTLET: MATV | 1 | Optional. May be replaced with data outlet, in accordance with ICT policy. May be required for educational purposes, to be determined at project level. If required add television, bracket and dedicated power. | No | No | No | No | No | No | No | No | No
MEET-L-20 | Meeting Room, 20m2 | SE | ITIN-143 | FLOORBOX: for power, data, AV, flush mounted | 1 | Data and power outlets. Verify location before installation. | No | No | No | No | No | No | No | No | No
MEET-L-20 | Meeting Room, 20m2 | FFE | ITNE-004 | CAMERA: video conferencing | 1 | Optional. For Magistrate Hearings. Requirement to be confirmed at project level. | Yes | Yes | No | No | No | No | No | No | No
MEET-L-20 | Meeting Room, 20m2 | FFE | ITNE-010 | COMPUTER: laptop or other mobile device | 1 | Not fixed or desktop computer, optional. Refer project specific operational policies for secure storage when not in use. | Yes | Yes | No | No | No | No | No | No | No
MEET-L-20 | Meeting Room, 20m2 | FFE | ITNE-013 | CONTROL UNIT: video conferencing | 1 | Optional, for Mental Health Review Hearings. Console, integral with camera, monitor, speakers and microphone. Configuration and Mental Health Review Board requirement to be confirmed at project level. | Yes | Yes | No | No | No | No | No | No | No
MEET-L-20 | Meeting Room, 20m2 | FFE | ITNE-019 | MICROPHONE: videoconferencing | 1 | Optional. For Magistrate Hearings and integral with video-conferencing system. Requirement to be confirmed at project level. Ceiling or table mounted. | Yes | Yes | No | No | No | No | No | No | No
MEET-L-20 | Meeting Room, 20m2 | FFE | ITNE-042 | SPEAKER: video conferencing, wall mount | 2 | Optional. For Magistrate Hearings and integral with video-conferencing system. Requirement to be confirmed at project level. | Yes | Yes | No | No | No | No | No | No | No
MEET-L-20 | Meeting Room, 20m2 | FFE | ITNE-060 | TELEPHONE: teleconferencing module | 1 | Optional. | Yes | Yes | No | No | No | No | No | No | No
MEET-L-20 | Meeting Room, 20m2 | SE | ITSE-006 | BUTTON: duress, fixed | 1 | Optional. Refer to HPU requirements. Will not be required in staff-only areas. | No | No | No | No | No | No | No | No | No
MEET-L-20 | Meeting Room, 20m2 | FFE | MMOP-060 | RACK: AV | 1 | Optional. May be required for Magistrate Hearings. Integral with video-conferencing system. Requirement to be confirmed at project level. | No | No | No | No | No | No | No | No | No
MEET-L-20 | Meeting Room, 20m2 | FA | WLWA-004 | WALL FINISH: paint, acrylic, washable | 1 |  | No | No | No | No | No | No | No | No | No