## RDS
Standard Components - Room Data Sheet
Date of issue: 20.03.2017
Generated by dRofus (C) dRofus
AusHFG Room Number | Room name | Prog Area | Hours of Operation | Occupancy | Remarks | Acoustics | Description / Special Requirements
NBICU | Neonatal Bay - Intensive Care, 12m2 | 12 | 24 Hours | 1 baby; 2-3 staff; 1-2 parents |  | Sound attenuation level high, Acoustic privacy is required to perimeter walls. | A single bay for neonates requiring Intensive Care nursing and medical treatment. The Bay will include provisions for charting and storage. A staff handwash basin (Type A) should be provided within close access of each Bay. An external outlook is required.

## Items in room
Standard Components - Items in room
Date of issue: 20.03.2017
Generated by dRofus (C) dRofus
Items | [6 empty] | Service allocations
AusHFG Room Code | Room Name | Item list | Item Number | Name | Gross quantity | Comment | Electrical | Data | Cold Water | Hot Water | Warm Water | Tap | Drainage | Gas | Steam
NBICU | Neonatal Bay - Intensive Care, 12m2 | FA | CLCN-006 | CORNICE: plasterboard, 90mm to match ceiling finish, paint | 1 |  | No | No | No | No | No | No | No | No | No
NBICU | Neonatal Bay - Intensive Care, 12m2 | FA | CLFS-006 | CEILING: plasterboard, flush set, suspended, paint, washable | 1 |  | No | No | No | No | No | No | No | No | No
NBICU | Neonatal Bay - Intensive Care, 12m2 | FA | DWOB-002 | OBSERVATION: internal window, alum/glass, door height, powdercoat | 1 | with integral venetians, optional | No | No | No | No | No | No | No | No | No
NBICU | Neonatal Bay - Intensive Care, 12m2 | FFE | DWWD-007 | BLIND: venetian, integral | 1 | to observation window if provided | No | No | No | No | No | No | No | No | No
NBICU | Neonatal Bay - Intensive Care, 12m2 | FA | DWWH-005 | WINDOW | 1 | External outlook to the area required | No | No | No | No | No | No | No | No | No
NBICU | Neonatal Bay - Intensive Care, 12m2 | SE | ELBO-015 | SWITCH: light, single | 1 |  | No | No | No | No | No | No | No | No | No
NBICU | Neonatal Bay - Intensive Care, 12m2 | SE | ELGP-101 | GPO: single, ceiling mounted | 1 | exam light | No | No | No | No | No | No | No | No | No
NBICU | Neonatal Bay - Intensive Care, 12m2 | SE | ELGP-110 | GPO: single, wall mounted, cleaner | 1 | to a group of bays | No | No | No | No | No | No | No | No | No
NBICU | Neonatal Bay - Intensive Care, 12m2 | SE | ELGP-123 | GPO: emergency power, single, wall mounted | 12 |  | No | No | No | No | No | No | No | No | No
NBICU | Neonatal Bay - Intensive Care, 12m2 | SE | ELGP-209 | GPO: double, wall mounted, RCD protected | 1 |  | No | No | No | No | No | No | No | No | No
NBICU | Neonatal Bay - Intensive Care, 12m2 | FFE | FIDI-014 | DISPENSER: disposable glove | 1 |  | No | No | No | No | No | No | No | No | No
NBICU | Neonatal Bay - Intensive Care, 12m2 | FFE | FIDI-025 | DISPENSER: paper/hand towel | 1 | to basin | No | No | No | No | No | No | No | No | No
NBICU | Neonatal Bay - Intensive Care, 12m2 | FFE | FIDI-030 | DISPENSER: soap | 1 | to basin | No | No | No | No | No | No | No | No | No
NBICU | Neonatal Bay - Intensive Care, 12m2 | FFE | FIDI-031 | DISPENSER: soap antiseptic | 1 | to basin | No | No | No | No | No | No | No | No | No
NBICU | Neonatal Bay - Intensive Care, 12m2 | FFE | FIHR-019 | BRACKET: for suction bottle | 2 |  | No | No | No | No | No | No | No | No | No
NBICU | Neonatal Bay - Intensive Care, 12m2 | FFE | FIJO-059 | BENCH TOP: 600D, joinery under, laminate finish | 1 |  | No | No | No | No | No | No | No | No | No
NBICU | Neonatal Bay - Intensive Care, 12m2 | FFE | FIJO-106 | CUPBOARD: drawer unit, 4 equal | 1 | under bench | No | No | No | No | No | No | No | No | No
NBICU | Neonatal Bay - Intensive Care, 12m2 | FFE | FIJO-135 | CUPBOARD: underbench, double door, adj shelves | 1 |  | No | No | No | No | No | No | No | No | No
NBICU | Neonatal Bay - Intensive Care, 12m2 | FFE | FIJO-140 | CUPBOARD: underbench, single door, adj shelves | 1 |  | No | No | No | No | No | No | No | No | No
NBICU | Neonatal Bay - Intensive Care, 12m2 | FFE | FIJO-152 | CUPBOARD: wall mount, shelf unit, adj shelves | 3 | over bench | No | No | No | No | No | No | No | No | No
NBICU | Neonatal Bay - Intensive Care, 12m2 | FFE | FIRT-023 | TRACK: curtain, bedscreen, L shaped | 1 | to full bay | No | No | No | No | No | No | No | No | No
NBICU | Neonatal Bay - Intensive Care, 12m2 | FA | FLSK-010 | SKIRTING: vinyl, floor vinyl coved, 150H, prefinished | 1 |  | No | No | No | No | No | No | No | No | No
NBICU | Neonatal Bay - Intensive Care, 12m2 | FA | FLVY-007 | FLOOR FINISH: vinyl, seamless, coved, standard slip resistant | 1 |  | No | No | No | No | No | No | No | No | No
NBICU | Neonatal Bay - Intensive Care, 12m2 | FFE | FQBS-028 | CHAIR: visitor, clinical areas | 1 |  | No | No | No | No | No | No | No | No | No
NBICU | Neonatal Bay - Intensive Care, 12m2 | FFE | FQCW-016 | BIN: waste, general, 20L | 1 |  | No | No | No | No | No | No | No | No | No
NBICU | Neonatal Bay - Intensive Care, 12m2 | FFE | FQGE-009 | CURTAIN: bed screen | 1 |  | No | No | No | No | No | No | No | No | No
NBICU | Neonatal Bay - Intensive Care, 12m2 | FFE | HYBA-009 | BASIN: handwash, Type A, scrub | 1 | in close proximity, refer BHWS-A (similar) | No | No | Yes | No | Yes | Yes | Yes | No | No
NBICU | Neonatal Bay - Intensive Care, 12m2 | FFE | HYTP-037 | TAPWARE: mixer, elbow levers | 1 | to basin | No | No | Yes | No | Yes | No | No | No | No
NBICU | Neonatal Bay - Intensive Care, 12m2 | SE | ITCL-004 | BUTTON: nurse call, emergency | 1 | on services panel | No | No | No | No | No | No | No | No | No
NBICU | Neonatal Bay - Intensive Care, 12m2 | SE | ITCL-008 | BUTTON: nurse call, staff assist | 1 | on services panel | No | No | No | No | No | No | No | No | No
NBICU | Neonatal Bay - Intensive Care, 12m2 | SE | ITIN-026 | OUTLET: data, double RJ45, wall mounted | 2 | 1 outlet for telephone | No | No | No | No | No | No | No | No | No
NBICU | Neonatal Bay - Intensive Care, 12m2 | SE | LIFX-008 | LIGHT: task light, built in | 2 | under O/H shelving | No | No | No | No | No | No | No | No | No
NBICU | Neonatal Bay - Intensive Care, 12m2 | FFE | LIFX-013 | LIGHT: procedure, ceiling mounted, small | 1 |  | Yes | No | No | No | No | No | No | No | No
NBICU | Neonatal Bay - Intensive Care, 12m2 | SE | MGAS-022 | OUTLET: medical air (MA), on services panel | 3 | on services panel | No | No | No | No | No | No | No | No | No
NBICU | Neonatal Bay - Intensive Care, 12m2 | SE | MGAS-042 | OUTLET: oxygen (O2), on services panel | 3 | on services panel | No | No | No | No | No | No | No | No | No
NBICU | Neonatal Bay - Intensive Care, 12m2 | SE | MGAS-062 | OUTLET: suction, on services panel | 3 | on services panel | No | No | No | No | No | No | No | No | No
NBICU | Neonatal Bay - Intensive Care, 12m2 | FFE | MGFP-002 | FLOWMETER: medical air | 3 |  | No | No | No | No | No | No | No | No | No
NBICU | Neonatal Bay - Intensive Care, 12m2 | FFE | MGFP-004 | FLOWMETER: oxygen | 3 |  | No | No | No | No | No | No | No | No | No
NBICU | Neonatal Bay - Intensive Care, 12m2 | FFE | MMGE-002 | ADAPTER: suction | 3 |  | No | No | No | No | No | No | No | No | No
NBICU | Neonatal Bay - Intensive Care, 12m2 | FFE | MMGE-100 | SUCTION BOTTLE | 3 |  | No | No | No | No | No | No | No | No | No
NBICU | Neonatal Bay - Intensive Care, 12m2 | FFE | MMGE-123 | TROLLEY: instrument | 1 |  | No | No | No | No | No | No | No | No | No
NBICU | Neonatal Bay - Intensive Care, 12m2 | FFE | MMMA-007 | INCUBATOR: infant, humidicrib | 1 |  | Yes | No | No | No | No | No | No | No | No
NBICU | Neonatal Bay - Intensive Care, 12m2 | SE | MMSP-026 | SERVICES PANEL: wall mounted | 1 | flush mounted | No | No | No | No | No | No | No | No | No
NBICU | Neonatal Bay - Intensive Care, 12m2 | FA | WLPR-019 | WALL PROTECTION: crash rail, at 900 AFFL, prefinished PVC | 1 | Equal to Acrovyn | No | No | No | No | No | No | No | No | No
NBICU | Neonatal Bay - Intensive Care, 12m2 | FA | WLWA-004 | WALL FINISH: paint, acrylic, washable | 1 |  | No | No | No | No | No | No | No | No | No
NBICU | Neonatal Bay - Intensive Care, 12m2 | FA | WLWA-010 | WALL FINISH: splashback, vinyl | 1 | to basin, tiles also acceptable | No | No | No | No | No | No | No | No | No