## Room Data
Standard Components - Room Data Sheet
Date of issue: 28.05.2019
Generated by dRofus (C) dRofus
AusHFG Room Number | Room name | Prog Area | Hours of Operation | Occupancy | Remarks | Acoustics | Description / Special Requirements
PBTR-AS | Patient Room, Emergency - Acute Treatment Special | 15 | 24 Hours | 1 patient; 1-2 staff |  |  | The Patient Bay, Emergency - Acute Treatment Special is a multipurpose enclosed treatment space that acts as a Class S isolation bay and an acute treatment bay that is accessible for wheelchair users. A patient toilet must be provided in close proximity. It may also be used for paediatric patients in a mixed adult/paediatric environment. An Ensuite is required for Class S and/or paediatric use. With an Ensuite, Anteroom, negative pressure ventilation and other adaptions, it may also be used as a Class N Isolation enclosed treatment space. Glazing is recommended to side walls, if space planning allows.

## Items
Standard Components - Items in room
Date of issue: 28.05.2019
Generated by dRofus (C) dRofus
Items
AusHFG Room Code | Room Name | Item list | Item Number | Name | Gross quantity | Comment
PBTR-AS | Patient Room, Emergency - Acute Treatment Special | FA | FLVY-007 | FLOOR FINISH: vinyl, seamless, coved, standard slip resistant | 1 | floor finish must be minimum slip rating R10; Pendulum P3 or agreed equivalent to extend under basin
PBTR-AS | Patient Room, Emergency - Acute Treatment Special | FA | FLSK-010 | SKIRTING: vinyl, floor vinyl coved, 150H, prefinished | 5
PBTR-AS | Patient Room, Emergency - Acute Treatment Special | FA | DWPR-010 | DOOR PROTECTION: to door frame, PVC, prefinished | 2 | optional
PBTR-AS | Patient Room, Emergency - Acute Treatment Special | FA | DWPR-005 | DOOR PROTECTION: protection plate to 900 AFFL | 2
PBTR-AS | Patient Room, Emergency - Acute Treatment Special | FA | WLWA-004 | WALL FINISH: paint, acrylic, washable | 4
PBTR-AS | Patient Room, Emergency - Acute Treatment Special | FA | WLWA-010 | WALL FINISH: splashback, vinyl | 1
PBTR-AS | Patient Room, Emergency - Acute Treatment Special | FA | WLPR-002 | WALL PROTECTION: bed protection wall panel, composite, laminate finish | 1 | to bedhead wall
PBTR-AS | Patient Room, Emergency - Acute Treatment Special | FA | DWGL-032 | DOOR: 1400mm c/o, 1 1/2 leaf, half glazed, solid core/safety glass, paint | 1
PBTR-AS | Patient Room, Emergency - Acute Treatment Special | FA | CLFS-006 | CEILING: plasterboard, flush set, suspended, paint, washable | 1
PBTR-AS | Patient Room, Emergency - Acute Treatment Special | FA | DWSC-003 | DOOR: 910mm c/o, single leaf, solid core, paint | 2 | optional
PBTR-AS | Patient Room, Emergency - Acute Treatment Special | FA | DWOB-006 | OBSERVATION: internal window, alum/safety glass, double glazed, integral venetian blind, powdercoat | 1
PBTR-AS | Patient Room, Emergency - Acute Treatment Special | FA | CLCN-008 | CORNICE: square set flush between wall and ceiling, paint | 1
PBTR-AS | Patient Room, Emergency - Acute Treatment Special | FA | WLWA-025 | WALL FINISH: vinyl, to 1200 AFFL | 6
PBTR-AS | Patient Room, Emergency - Acute Treatment Special | FFE | MGFP-002 | FLOWMETER: medical air | 1
PBTR-AS | Patient Room, Emergency - Acute Treatment Special | FFE | DWWD-007 | BLIND: venetian, integral | 1 | to internal window
PBTR-AS | Patient Room, Emergency - Acute Treatment Special | FFE | FIHR-019 | BRACKET: for suction bottle | 2
PBTR-AS | Patient Room, Emergency - Acute Treatment Special | FFE | FIHR-016 | BRACKET: for sharps bin | 1
PBTR-AS | Patient Room, Emergency - Acute Treatment Special | FFE | FQBS-030 | CHAIR: visitor, patient | 1
PBTR-AS | Patient Room, Emergency - Acute Treatment Special | FFE | FIDI-001 | DISPENSER: alcohol based hand rub | 1
PBTR-AS | Patient Room, Emergency - Acute Treatment Special | FFE | FQGE-010 | CURTAIN: privacy screen | 1
PBTR-AS | Patient Room, Emergency - Acute Treatment Special | FFE | FQCW-016 | BIN: waste, general, 20L | 1
PBTR-AS | Patient Room, Emergency - Acute Treatment Special | FFE | FIDI-014 | DISPENSER: disposable glove | 1
PBTR-AS | Patient Room, Emergency - Acute Treatment Special | FFE | FIDI-025 | DISPENSER: paper/hand towel | 1
PBTR-AS | Patient Room, Emergency - Acute Treatment Special | FFE | FIDI-030 | DISPENSER: soap | 1
PBTR-AS | Patient Room, Emergency - Acute Treatment Special | FFE | FIDI-031 | DISPENSER: soap antiseptic | 1
PBTR-AS | Patient Room, Emergency - Acute Treatment Special | FFE | FIHR-033 | PANEL: for storage bins, wall mount | 1
PBTR-AS | Patient Room, Emergency - Acute Treatment Special | FFE | FQTA-013 | TABLE: overbed | 1
PBTR-AS | Patient Room, Emergency - Acute Treatment Special | FFE | MGFP-004 | FLOWMETER: oxygen | 2
PBTR-AS | Patient Room, Emergency - Acute Treatment Special | FFE | FQCW-044 | BIN: waste, sharps, wall mounted | 1
PBTR-AS | Patient Room, Emergency - Acute Treatment Special | FFE | FQSN-006 | BIN: storage bins, for wall mounted panel | 3
PBTR-AS | Patient Room, Emergency - Acute Treatment Special | FFE | MMGE-002 | ADAPTER: suction | 2
PBTR-AS | Patient Room, Emergency - Acute Treatment Special | FFE | MMGE-100 | SUCTION BOTTLE | 2
PBTR-AS | Patient Room, Emergency - Acute Treatment Special | FFE | FQCW-005 | BIN: waste, clinical, 20L | 1
PBTR-AS | Patient Room, Emergency - Acute Treatment Special | FFE | HYBA-010 | BASIN: handwash, Type B | 1
PBTR-AS | Patient Room, Emergency - Acute Treatment Special | FFE | MMBE-011 | BED: patient, emergency, electric | 1
PBTR-AS | Patient Room, Emergency - Acute Treatment Special | FFE | HYTP-037 | TAPWARE: mixer, elbow levers | 1
PBTR-AS | Patient Room, Emergency - Acute Treatment Special | FFE | ITNE-008 | COMPUTER: for workstation on wheels | 1
PBTR-AS | Patient Room, Emergency - Acute Treatment Special | FFE | LIFX-013 | LIGHT: procedure, ceiling mounted, small | 1
PBTR-AS | Patient Room, Emergency - Acute Treatment Special | FFE | MMGE-031 | DIAGNOSTIC SET: wall mounted | 1
PBTR-AS | Patient Room, Emergency - Acute Treatment Special | FFE | MMHA-005 | MONITOR: patient, cardiac | 1
PBTR-AS | Patient Room, Emergency - Acute Treatment Special | FFE | MMGE-164 | WORKSTATION ON WHEELS: clinical, mobile | 1
PBTR-AS | Patient Room, Emergency - Acute Treatment Special | FFE | FIRT-041 | TRACK: curtain, privacy, U shaped, angled | 1
PBTR-AS | Patient Room, Emergency - Acute Treatment Special | FFE | FIHR-063 | BRACKET: for all-in-one computer, with keyboard shelf, wall mounted | 1 | optional
PBTR-AS | Patient Room, Emergency - Acute Treatment Special | FFE | FIHR-067 | BRACKET: for monitor, wall mounted, articulated, adj height | 1
PBTR-AS | Patient Room, Emergency - Acute Treatment Special | FFE | ITNE-066 | COMPUTER: all-in-one, wall mounted | 1 | optional, or workstation on wheels
PBTR-AS | Patient Room, Emergency - Acute Treatment Special | FFE | ITNE-067 | KEYBOARD: keyboard and mouse only | 1 | optional
PBTR-AS | Patient Room, Emergency - Acute Treatment Special | SE | ITIN-026 | OUTLET: data, double RJ45, wall mounted | 2 | for patient monitor and wall mounted PC, if required
PBTR-AS | Patient Room, Emergency - Acute Treatment Special | SE | ELPR-006 | RCD: residual current device | 2
PBTR-AS | Patient Room, Emergency - Acute Treatment Special | SE | ITCL-008 | BUTTON: nurse call, staff assist | 1 | on services panel, + indicator button & light
PBTR-AS | Patient Room, Emergency - Acute Treatment Special | SE | MEEX-008 | EXHAUST: low level | 1 | optional, for negative pressure room
PBTR-AS | Patient Room, Emergency - Acute Treatment Special | SE | MGAS-042 | OUTLET: oxygen (O2), on services panel | 2
PBTR-AS | Patient Room, Emergency - Acute Treatment Special | SE | MGAS-022 | OUTLET: medical air (MA), on services panel | 1
PBTR-AS | Patient Room, Emergency - Acute Treatment Special | SE | MGAS-062 | OUTLET: suction, on services panel | 2
PBTR-AS | Patient Room, Emergency - Acute Treatment Special | SE | ITCL-006 | BUTTON: nurse call, patient to staff | 1 | on services panel, + indicator button & light
PBTR-AS | Patient Room, Emergency - Acute Treatment Special | SE | ITCL-028 | HANDSET: nurse call, with patient to staff call button | 1
PBTR-AS | Patient Room, Emergency - Acute Treatment Special | SE | ITCL-004 | BUTTON: nurse call, emergency | 1 | on services panel, + indicator button & light
PBTR-AS | Patient Room, Emergency - Acute Treatment Special | SE | ELGP-223 | GPO: emergency power, double, wall mounted | 1
PBTR-AS | Patient Room, Emergency - Acute Treatment Special | SE | ELGP-110 | GPO: single, wall mounted, cleaner | 1
PBTR-AS | Patient Room, Emergency - Acute Treatment Special | SE | ELGP-123 | GPO: emergency power, single, wall mounted | 3 | for monitor, if required
PBTR-AS | Patient Room, Emergency - Acute Treatment Special | SE | MMSP-026 | SERVICES PANEL: wall mounted | 3
PBTR-AS | Patient Room, Emergency - Acute Treatment Special | SE | ELBO-012 | SWITCH: light, dimmer | 2 | dimmable to allow paediatric patients to sleep
PBTR-AS | Patient Room, Emergency - Acute Treatment Special | SE | ITIN-025 | OUTLET: data, double RJ45, on services panel | 1
PBTR-AS | Patient Room, Emergency - Acute Treatment Special | SE | ELGP-122 | GPO: emergency power, single, on services panel | 8
PBTR-AS | Patient Room, Emergency - Acute Treatment Special | SE | ELGP-125 | GPO: emergency power, single, ceiling mounted | 1