## RDS
Standard Components - Room Data Sheet
Date of issue: 20.03.2017
Generated by dRofus (C) dRofus
AusHFG Room Number | Room name | Prog Area | Hours of Operation | Occupancy | Remarks | Acoustics | Description / Special Requirements
PODTR-12 | Podiatry Treatment, 12m2 | 12 | Available 24 Hours | 1 patient; 1 staff |  | Sound attenuation level high, Acoustic privacy is required. | The Podiatry Treatment room provides for podiatry consultation, examination and treatment. The room may be used for measuring and fitting prosthetic appliances but not for fabrication. An external outlook is desirable.

## Items in room
Standard Components - Items in room
Date of issue: 20.03.2017
Generated by dRofus (C) dRofus
Items | [6 empty] | Service allocations
AusHFG Room Code | Room Name | Item list | Item Number | Name | Gross quantity | Comment | Electrical | Data | Cold Water | Hot Water | Warm Water | Tap | Drainage | Gas | Steam
PODTR-12 | Podiatry Treatment, 12m2 | FA | CLCN-002 | CORNICE: aluminium, 24mm shadow angle, powdercoat | 1 |  | No | No | No | No | No | No | No | No | No
PODTR-12 | Podiatry Treatment, 12m2 | FA | CLTI-002 | CEILING: acoustic, drop-in tiles, 600 x 1200 | 1 | Default = acoustic tiles; flush set plasterboard ceiling also acceptable | No | No | No | No | No | No | No | No | No
PODTR-12 | Podiatry Treatment, 12m2 | FA | DWGL-033 | DOOR: 1400mm c/o, 1 1/2 leaf, observation panel, solid core/glass, paint | 1 | half door optional | No | No | No | No | No | No | No | No | No
PODTR-12 | Podiatry Treatment, 12m2 | FA | DWPR-006 | DOOR PROTECTION: protection plate, to 900 AFFL, PVC, prefinished | 1 | equal to Acrovyn | No | No | No | No | No | No | No | No | No
PODTR-12 | Podiatry Treatment, 12m2 | FA | DWPR-010 | DOOR PROTECTION: to door frame, PVC, prefinished | 1 | equal to Acrovyn | No | No | No | No | No | No | No | No | No
PODTR-12 | Podiatry Treatment, 12m2 | FFE | DWWD-006 | BLIND: venetian | 1 | to external window if provided | No | No | No | No | No | No | No | No | No
PODTR-12 | Podiatry Treatment, 12m2 | FA | DWWH-005 | WINDOW | 1 | desirable | No | No | No | No | No | No | No | No | No
PODTR-12 | Podiatry Treatment, 12m2 | SE | ELBO-015 | SWITCH: light, single | 2 |  | No | No | No | No | No | No | No | No | No
PODTR-12 | Podiatry Treatment, 12m2 | SE | ELGP-106 | GPO: single, special, for equipment | 1 | Podiatry chair | No | No | No | No | No | No | No | No | No
PODTR-12 | Podiatry Treatment, 12m2 | SE | ELGP-109 | GPO: single, wall mounted | 2 | fridge, XRV | No | No | No | No | No | No | No | No | No
PODTR-12 | Podiatry Treatment, 12m2 | SE | ELGP-208 | GPO: double, wall mounted | 3 |  | No | No | No | No | No | No | No | No | No
PODTR-12 | Podiatry Treatment, 12m2 | FFE | FIBM-018 | WHITEBOARD: fixed | 1 |  | No | No | No | No | No | No | No | No | No
PODTR-12 | Podiatry Treatment, 12m2 | FFE | FIDI-014 | DISPENSER: disposable glove | 1 |  | No | No | No | No | No | No | No | No | No
PODTR-12 | Podiatry Treatment, 12m2 | FFE | FIDI-021 | DISPENSER: mask | 1 |  | No | No | No | No | No | No | No | No | No
PODTR-12 | Podiatry Treatment, 12m2 | FFE | FIDI-025 | DISPENSER: paper/hand towel | 2 | to basin & sink | No | No | No | No | No | No | No | No | No
PODTR-12 | Podiatry Treatment, 12m2 | FFE | FIDI-030 | DISPENSER: soap | 2 | to basin | No | No | No | No | No | No | No | No | No
PODTR-12 | Podiatry Treatment, 12m2 | FFE | FIDI-031 | DISPENSER: soap antiseptic | 1 | to basin | No | No | No | No | No | No | No | No | No
PODTR-12 | Podiatry Treatment, 12m2 | FFE | FIHR-033 | PANEL: for storage bins, wall mount | 1 | above bench, optional | No | No | No | No | No | No | No | No | No
PODTR-12 | Podiatry Treatment, 12m2 | FFE | FIJO-059 | BENCH TOP: 600D, joinery under, laminate finish | 1 | open under part for write-up area | No | No | No | No | No | No | No | No | No
PODTR-12 | Podiatry Treatment, 12m2 | FFE | FIJO-136 | CUPBOARD: underbench, double door, adj shelves, lockable | 1 | under part bench | No | No | No | No | No | No | No | No | No
PODTR-12 | Podiatry Treatment, 12m2 | FFE | FIJO-145 | CUPBOARD: wall mount, double door, adj shelves, lockable | 3 | over bench | No | No | No | No | No | No | No | No | No
PODTR-12 | Podiatry Treatment, 12m2 | FA | FLSK-010 | SKIRTING: vinyl, floor vinyl coved, 150H, prefinished | 1 |  | No | No | No | No | No | No | No | No | No
PODTR-12 | Podiatry Treatment, 12m2 | FA | FLVY-007 | FLOOR FINISH: vinyl, seamless, coved, standard slip resistant | 1 |  | No | No | No | No | No | No | No | No | No
PODTR-12 | Podiatry Treatment, 12m2 | FFE | FQBS-051 | STOOL: mobile, adj height | 1 | for staff | No | No | No | No | No | No | No | No | No
PODTR-12 | Podiatry Treatment, 12m2 | FFE | FQCW-016 | BIN: waste, general, 20L | 1 | to basin | No | No | No | No | No | No | No | No | No
PODTR-12 | Podiatry Treatment, 12m2 | FFE | FQSN-006 | BIN: storage bins, for wall mounted panel | 3 | for louvred panel, optional | No | No | No | No | No | No | No | No | No
PODTR-12 | Podiatry Treatment, 12m2 | FFE | HYBA-010 | BASIN: handwash, Type B | 1 | refer to BHWS-B (similar) | No | No | Yes | No | Yes | Yes | Yes | No | No
PODTR-12 | Podiatry Treatment, 12m2 | FFE | HYBA-069 | SINK: single, with drainer, 930mmL | 1 | provide warm water | No | No | Yes | Yes | Yes | Yes | Yes | No | No
PODTR-12 | Podiatry Treatment, 12m2 | FFE | HYDR-008 | TRAP: plaster | 1 | under sink | No | No | No | No | No | No | Yes | No | No
PODTR-12 | Podiatry Treatment, 12m2 | FFE | HYTP-037 | TAPWARE: mixer, elbow levers | 1 | to sink | No | No | Yes | No | Yes | No | No | No | No
PODTR-12 | Podiatry Treatment, 12m2 | FFE | HYTP-037 | TAPWARE: mixer, elbow levers | 1 | to basin | No | No | Yes | No | Yes | No | No | No | No
PODTR-12 | Podiatry Treatment, 12m2 | SE | ITCL-004 | BUTTON: nurse call, emergency | 1 |  | No | No | No | No | No | No | No | No | No
PODTR-12 | Podiatry Treatment, 12m2 | SE | ITCL-008 | BUTTON: nurse call, staff assist | 1 |  | No | No | No | No | No | No | No | No | No
PODTR-12 | Podiatry Treatment, 12m2 | SE | ITIN-026 | OUTLET: data, double RJ45, wall mounted | 1 |  | No | No | No | No | No | No | No | No | No
PODTR-12 | Podiatry Treatment, 12m2 | FFE | ITNE-007 | COMPUTER: desktop, with display screen | 1 | flat screen | Yes | Yes | No | No | No | No | No | No | No
PODTR-12 | Podiatry Treatment, 12m2 | FFE | ITNE-049 | TELEPHONE: handset, desktop | 1 |  | No | Yes | No | No | No | No | No | No | No
PODTR-12 | Podiatry Treatment, 12m2 | SE | LIFX-008 | LIGHT: task light, built in | 2 | under O/H cupboards | No | No | No | No | No | No | No | No | No
PODTR-12 | Podiatry Treatment, 12m2 | FFE | LIFX-013 | LIGHT: procedure, ceiling mounted, small | 1 |  | Yes | No | No | No | No | No | No | No | No
PODTR-12 | Podiatry Treatment, 12m2 | FFE | MMAH-010 | CHAIR: podiatry, electric | 1 |  | Yes | No | No | No | No | No | No | No | No
PODTR-12 | Podiatry Treatment, 12m2 | FFE | MMGE-036 | FRIDGE: drugs, underbench | 1 | optional | Yes | No | No | No | No | No | No | No | No
PODTR-12 | Podiatry Treatment, 12m2 | FFE | MMGE-119 | TROLLEY: equipment | 1 |  | No | No | No | No | No | No | No | No | No
PODTR-12 | Podiatry Treatment, 12m2 | FFE | MMGE-150 | VIEWER: X-ray, 1 screen | 1 |  | Yes | No | No | No | No | No | No | No | No
PODTR-12 | Podiatry Treatment, 12m2 | FA | WLWA-004 | WALL FINISH: paint, acrylic, washable | 1 |  | No | No | No | No | No | No | No | No | No
PODTR-12 | Podiatry Treatment, 12m2 | FA | WLWA-010 | WALL FINISH: splashback, vinyl | 1 | to basin & sink; Default = vinyl; tiles also acceptable | No | No | No | No | No | No | No | No | No