## RDS
Standard Components - Room Data Sheet
Date of issue: 20.03.2017
Generated by dRofus (C) dRofus
AusHFG Room Number | Room name | Prog Area | Hours of Operation | Occupancy | Remarks | Acoustics | Description / Special Requirements
RECL-15 | Reception/ Clerical, 15m2 | 15 | 0800 Hours - 1800 or 2000 hours, dependent on function of unit | Up to 3 staff members |  |  | A Reception area where visitors to the unit of facility can be received combined with an additional workstation area for clerical activities. May also act as the access control to the Unit. Additional Design Requirements: Dependent on location, security shutters or glazing may be required . Reception desk may have set down counter for disabled persons access, if Reception is accessed by the public. Access for disabled staff working within the Reception area needs to be considered.

## Items in room
Standard Components - Items in room
Date of issue: 20.03.2017
Generated by dRofus (C) dRofus
Items | [6 empty] | Service allocations
AusHFG Room Code | Room Name | Item list | Item Number | Name | Gross quantity | Comment | Electrical | Data | Cold Water | Hot Water | Warm Water | Tap | Drainage | Gas | Steam
RECL-15 | Reception/ Clerical, 15m2 | FA | CLCN-002 | CORNICE: aluminium, 24mm shadow angle, powdercoat | 1 |  | No | No | No | No | No | No | No | No | No
RECL-15 | Reception/ Clerical, 15m2 | FA | CLGE-001 | CEILING: plasterboard, bulkhead, paint | 1 | optional | No | No | No | No | No | No | No | No | No
RECL-15 | Reception/ Clerical, 15m2 | FA | CLTI-002 | CEILING: acoustic, drop-in tiles, 600 x 1200 | 1 |  | No | No | No | No | No | No | No | No | No
RECL-15 | Reception/ Clerical, 15m2 | FA | DWGE-001 | DOOR: 910mm c/o, single leaf, laminated, counter height | 1 | 910mm clear opening, lockable, optional | No | No | No | No | No | No | No | No | No
RECL-15 | Reception/ Clerical, 15m2 | FA | DWGL-003 | DOOR: 910mm c/o, single leaf, half glazed, solid core/safety glass, paint | 1 | full height door optional, if Reception enclosed, lockable | No | No | No | No | No | No | No | No | No
RECL-15 | Reception/ Clerical, 15m2 | SE | ELBO-015 | SWITCH: light, single | 5 |  | No | No | No | No | No | No | No | No | No
RECL-15 | Reception/ Clerical, 15m2 | SE | ELGP-208 | GPO: double, wall mounted | 8 |  | No | No | No | No | No | No | No | No | No
RECL-15 | Reception/ Clerical, 15m2 | FFE | FIBM-013 | NOTICEBOARD: fixed, fabric covered | 4 | to upstand of reception desk | No | No | No | No | No | No | No | No | No
RECL-15 | Reception/ Clerical, 15m2 | FFE | FIJO-059 | BENCH TOP: 600D, joinery under, laminate finish | 1 | 900mm affl, behind staff station | No | No | No | No | No | No | No | No | No
RECL-15 | Reception/ Clerical, 15m2 | FFE | FIJO-136 | CUPBOARD: underbench, double door, adj shelves, lockable | 2 | under part of high bench | No | No | No | No | No | No | No | No | No
RECL-15 | Reception/ Clerical, 15m2 | FFE | FIJO-140 | CUPBOARD: underbench, single door, adj shelves | 1 |  | No | No | No | No | No | No | No | No | No
RECL-15 | Reception/ Clerical, 15m2 | FFE | FIJO-143 | CUPBOARD: wall mount, double door, adj shelves | 4 | over high bench | No | No | No | No | No | No | No | No | No
RECL-15 | Reception/ Clerical, 15m2 | FFE | FIJO-152 | CUPBOARD: wall mount, shelf unit, adj shelves | 3 | over part workstation bench | No | No | No | No | No | No | No | No | No
RECL-15 | Reception/ Clerical, 15m2 | FFE | FIJO-177 | JOINERY UNIT: reception desk, high performance surfaces | 1 | with resinate/ laminate countertop, includes work surface | No | No | No | No | No | No | No | No | No
RECL-15 | Reception/ Clerical, 15m2 | FA | FLCP-003 | FLOOR FINISH: carpet, broadloom, 48 oz., 90/10 wool/nylon | 1 |  | No | No | No | No | No | No | No | No | No
RECL-15 | Reception/ Clerical, 15m2 | FA | FLSK-003 | SKIRTING: laminate, 150H, prefinished | 1 | to Reception desk, external aspect | No | No | No | No | No | No | No | No | No
RECL-15 | Reception/ Clerical, 15m2 | FA | FLSK-009 | SKIRTING: vinyl, feather edged, 150H, prefinished | 1 | to carpeted area | No | No | No | No | No | No | No | No | No
RECL-15 | Reception/ Clerical, 15m2 | FFE | FQBS-018 | CHAIR: office, ergonomic | 2 |  | No | No | No | No | No | No | No | No | No
RECL-15 | Reception/ Clerical, 15m2 | FFE | FQBS-019 | CHAIR: office, ergonomic, high | 1 |  | No | No | No | No | No | No | No | No | No
RECL-15 | Reception/ Clerical, 15m2 | FFE | FQCW-016 | BIN: waste, general, 20L | 1 |  | No | No | No | No | No | No | No | No | No
RECL-15 | Reception/ Clerical, 15m2 | FFE | FQDW-004 | KEYBOARD SHELF: drop down, for workstation | 2 | optional | No | No | No | No | No | No | No | No | No
RECL-15 | Reception/ Clerical, 15m2 | FFE | FQGE-049 | PHOTOCOPIER: benchtop | 1 | optional | Yes | Yes | No | No | No | No | No | No | No
RECL-15 | Reception/ Clerical, 15m2 | FFE | FQSM-009 | PEDESTAL: mobile, filing unit, 660H | 2 | under workstation bench | No | No | No | No | No | No | No | No | No
RECL-15 | Reception/ Clerical, 15m2 | SE | ITIN-026 | OUTLET: data, double RJ45, wall mounted | 4 |  | No | No | No | No | No | No | No | No | No
RECL-15 | Reception/ Clerical, 15m2 | FFE | ITNE-007 | COMPUTER: desktop, with display screen | 2 |  | Yes | Yes | No | No | No | No | No | No | No
RECL-15 | Reception/ Clerical, 15m2 | FFE | ITNE-016 | FAX MACHINE: desktop | 1 | optional | Yes | Yes | No | No | No | No | No | No | No
RECL-15 | Reception/ Clerical, 15m2 | FFE | ITNE-023 | PRINTER: networked | 1 | optional | Yes | Yes | No | No | No | No | No | No | No
RECL-15 | Reception/ Clerical, 15m2 | FFE | ITNE-049 | TELEPHONE: handset, desktop | 2 |  | No | Yes | No | No | No | No | No | No | No
RECL-15 | Reception/ Clerical, 15m2 | FFE | ITNE-056 | TELEPHONE PABX: switchboard | 1 | optional | Yes | Yes | No | No | No | No | No | No | No
RECL-15 | Reception/ Clerical, 15m2 | SE | ITSE-006 | BUTTON: duress, fixed | 1 |  | No | No | No | No | No | No | No | No | No
RECL-15 | Reception/ Clerical, 15m2 | SE | LIFX-008 | LIGHT: task light, built in | 3 | to counter top & under O/H joinery | No | No | No | No | No | No | No | No | No
RECL-15 | Reception/ Clerical, 15m2 | FFE | WLPT-003 | PARTITION: laminate | 4 | under worktop | No | No | No | No | No | No | No | No | No
RECL-15 | Reception/ Clerical, 15m2 | FFE | WLPT-008 | SCREEN: security, safety glass | 1 | optional, may also use Perspex/Lexan | No | No | No | No | No | No | No | No | No
RECL-15 | Reception/ Clerical, 15m2 | FA | WLWA-004 | WALL FINISH: paint, acrylic, washable | 1 |  | No | No | No | No | No | No | No | No | No