## RDS
Standard Components - Room Data Sheet
Date of issue: 20.03.2017
Generated by dRofus (C) dRofus
AusHFG Room Number | Room name | Prog Area | Hours of Operation | Occupancy | Remarks | Acoustics | Description / Special Requirements
SHPT | Shower - Patient, 4m2 | 4 | 24 Hours | 1 patient; 1-2 staff assisting as required |  | Sound attenuation level high, Acoustic privacy is required. | The Patient Shower is a room containing a shower and a handbasin for patients to shower or wash, either independently or with nurse assistance. This room may be provided in an Emergency Department or other units where an additional shower is required. Ensuites are generally preferred in inpatient environments. Additional Design Considerations: Access is required for commode chairs. The floor must not have a raised hob. The door will require escape hardware to allow staff access in an emergency.

## Items in room
Standard Components - Items in room
Date of issue: 20.03.2017
Generated by dRofus (C) dRofus
Items | [6 empty] | Service allocations
AusHFG Room Code | Room Name | Item list | Item Number | Name | Gross quantity | Comment | Electrical | Data | Cold Water | Hot Water | Warm Water | Tap | Drainage | Gas | Steam
SHPT | Shower - Patient, 4m2 | FA | CLCN-002 | CORNICE: aluminium, 24mm shadow angle, powdercoat | 1 |  | No | No | No | No | No | No | No | No | No
SHPT | Shower - Patient, 4m2 | FA | CLTI-014 | CEILING: plasterboard, water resistant, drop-in tiles, prefinished, 600 x 1200 | 1 |  | No | No | No | No | No | No | No | No | No
SHPT | Shower - Patient, 4m2 | FA | DWPR-006 | DOOR PROTECTION: protection plate, to 900 AFFL, PVC, prefinished | 1 |  | No | No | No | No | No | No | No | No | No
SHPT | Shower - Patient, 4m2 | FA | DWPR-010 | DOOR PROTECTION: to door frame, PVC, prefinished | 1 |  | No | No | No | No | No | No | No | No | No
SHPT | Shower - Patient, 4m2 | FA | DWSC-003 | DOOR: 910mm c/o, single leaf, solid core, paint | 1 | Outward opening; privacy latch; emergency release | No | No | No | No | No | No | No | No | No
SHPT | Shower - Patient, 4m2 | SE | ELBO-015 | SWITCH: light, single | 1 | outside room, to door | No | No | No | No | No | No | No | No | No
SHPT | Shower - Patient, 4m2 | SE | ELGP-208 | GPO: double, wall mounted | 1 |  | No | No | No | No | No | No | No | No | No
SHPT | Shower - Patient, 4m2 | FFE | FIBM-006 | MIRROR: fixed, glass | 1 |  | No | No | No | No | No | No | No | No | No
SHPT | Shower - Patient, 4m2 | FFE | FIDI-025 | DISPENSER: paper/hand towel | 1 |  | No | No | No | No | No | No | No | No | No
SHPT | Shower - Patient, 4m2 | FFE | FIDI-030 | DISPENSER: soap | 2 | 1 x basin. 1 x shower (optional). | No | No | No | No | No | No | No | No | No
SHPT | Shower - Patient, 4m2 | FFE | FIDI-049 | HOLDER: soap/shampoo, non-recessed | 1 |  | No | No | No | No | No | No | No | No | No
SHPT | Shower - Patient, 4m2 | FFE | FIHR-026 | HOOK: coat | 2 |  | No | No | No | No | No | No | No | No | No
SHPT | Shower - Patient, 4m2 | FFE | FIRT-003 | GRAB RAIL: shower, horizontal | 1 | Combined with hand held shower. | No | No | No | No | No | No | No | No | No
SHPT | Shower - Patient, 4m2 | FFE | FIRT-016 | RAIL: towel | 1 | with grab rail strength/ fixings | No | No | No | No | No | No | No | No | No
SHPT | Shower - Patient, 4m2 | FFE | FIRT-034 | TRACK: curtain, shower, 90 deg | 1 | Optional, depends on Infection Control Policy | No | No | No | No | No | No | No | No | No
SHPT | Shower - Patient, 4m2 | FA | FLSK-010 | SKIRTING: vinyl, floor vinyl coved, 150H, prefinished | 1 | Or tiles for a tiled floor. | No | No | No | No | No | No | No | No | No
SHPT | Shower - Patient, 4m2 | FA | FLVY-009 | FLOOR FINISH: vinyl, seamless, coved, wet area, non-slip | 1 | Suitable for barefeet. Tiles also acceptable. | No | No | No | No | No | No | No | No | No
SHPT | Shower - Patient, 4m2 | FFE | FQCW-016 | BIN: waste, general, 20L | 1 |  | No | No | No | No | No | No | No | No | No
SHPT | Shower - Patient, 4m2 | FFE | FQGE-011 | CURTAIN: shower | 1 | Optional, depends on Infection Control Policy | No | No | No | No | No | No | No | No | No
SHPT | Shower - Patient, 4m2 | FFE | HYBA-002 | BASIN: ensuite, with vanity unit | 1 |  | No | No | Yes | No | Yes | Yes | Yes | No | No
SHPT | Shower - Patient, 4m2 | SE | HYDR-004 | DRAIN: floor waste | 1 |  | No | No | No | No | No | No | Yes | No | No
SHPT | Shower - Patient, 4m2 | FFE | HYTP-020 | SHOWER: hand-held | 1 | Tapware: mixer, wall mounted, shower. | No | No | Yes | No | Yes | Yes | Yes | No | No
SHPT | Shower - Patient, 4m2 | FFE | HYTP-036 | TAPWARE: mixer, basin, lever action | 1 |  | No | No | Yes | No | Yes | No | No | No | No
SHPT | Shower - Patient, 4m2 | FFE | HYTP-039 | TAPWARE: mixer, shower, lever action | 1 |  | No | No | Yes | No | Yes | No | No | No | No
SHPT | Shower - Patient, 4m2 | SE | ITCL-004 | BUTTON: nurse call, emergency | 1 | + indicator button & light, waterproof | No | No | No | No | No | No | No | No | No
SHPT | Shower - Patient, 4m2 | SE | ITCL-006 | BUTTON: nurse call, patient to staff | 1 | + indicator button & light, waterproof | No | No | No | No | No | No | No | No | No
SHPT | Shower - Patient, 4m2 | SE | ITCL-008 | BUTTON: nurse call, staff assist | 1 |  | No | No | No | No | No | No | No | No | No
SHPT | Shower - Patient, 4m2 | FFE | MMGE-024 | CHAIR: shower | 1 | Or commode chair or combined shower/commode chair, optional. | No | No | No | No | No | No | No | No | No
SHPT | Shower - Patient, 4m2 | FA | WLWA-004 | WALL FINISH: paint, acrylic, washable | 1 | to any areas not covered by vinyl or tile | No | No | No | No | No | No | No | No | No
SHPT | Shower - Patient, 4m2 | FA | WLWA-019 | WALL FINISH: vinyl, full height | 1 | to wet areas; tiles also acceptable | No | No | No | No | No | No | No | No | No