## RDS
Standard Components - Room Data Sheet
Date of issue: 20.03.2017
Generated by dRofus (C) dRofus
AusHFG Room Number | Room name | Prog Area | Hours of Operation | Occupancy | Remarks | Acoustics | Description / Special Requirements
SPREC | Specimen Reception/ Sort/ Preparation | 20 | 0800 Hours - 1800 or 2000 hours | Up to 4 staff members, 3 seated workstations |  |  | A Reception area where specimens for analysis are received, sorted and held temporarily before despatch into laboratory areas. Additional Design Requirements: Security shutters or glazing may be required.

## Items in room
Standard Components - Items in room
Date of issue: 20.03.2017
Generated by dRofus (C) dRofus
Items | [6 empty] | Service allocations
AusHFG Room Code | Room Name | Item list | Item Number | Name | Gross quantity | Comment | Electrical | Data | Cold Water | Hot Water | Warm Water | Tap | Drainage | Gas | Steam
SPREC | Specimen Reception/ Sort/ Preparation | FA | CLCN-002 | CORNICE: aluminium, 24mm shadow angle, powdercoat | 1 |  | No | No | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | FA | CLGE-001 | CEILING: plasterboard, bulkhead, paint | 1 | optional | No | No | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | FA | CLTI-002 | CEILING: acoustic, drop-in tiles, 600 x 1200 | 1 |  | No | No | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | FA | DWGL-005 | DOOR: 910mm c/o, single leaf, observation panel, solid core/glass, paint | 1 | lockable | No | No | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | FA | DWPR-003 | DOOR PROTECTION: kickplate, to 300 AFFL, vinyl, prefinished | 1 |  | No | No | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | FFE | DWWH-004 | SHUTTER: roller, manual | 1 | optional, may also use safety glass or 'Perspex/ Lexan' materials | No | No | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | SE | ELBO-015 | SWITCH: light, single | 3 |  | No | No | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | SE | ELGP-109 | GPO: single, wall mounted | 1 | refrigerator | No | No | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | SE | ELGP-208 | GPO: double, wall mounted | 9 |  | No | No | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | FFE | FIBM-013 | NOTICEBOARD: fixed, fabric covered | 2 | to upstand of reception desk and over workstation bench | No | No | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | FFE | FIDI-025 | DISPENSER: paper/hand towel | 1 | to basin | No | No | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | FFE | FIDI-030 | DISPENSER: soap | 1 | to basin | No | No | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | FFE | FIJO-031 | BENCH: 750D, open under, laminate finish | 1 | sorting work bench | No | No | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | FFE | FIJO-069 | BENCH TOP: 750D, joinery under, laminate finish | 1 | sorting lab bench | No | No | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | FFE | FIJO-135 | CUPBOARD: underbench, double door, adj shelves | 1 | under sorting lab bench | No | No | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | FFE | FIJO-143 | CUPBOARD: wall mount, double door, adj shelves | 3 | over reception work bench | No | No | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | FFE | FIJO-152 | CUPBOARD: wall mount, shelf unit, adj shelves | 6 | over sorting/ prepartion area benches | No | No | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | FFE | FIJO-170 | JOINERY UNIT: counter top and screen under | 1 | resinate/laminate, in front of reception desk | No | No | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | FFE | FIJO-182 | JOINERY UNIT: reception desk | 1 | reception work bench; timber veneer finish also acceptable | No | No | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | FA | FLCP-003 | FLOOR FINISH: carpet, broadloom, 48 oz., 90/10 wool/nylon | 1 | to front reception area | No | No | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | FA | FLSK-009 | SKIRTING: vinyl, feather edged, 150H, prefinished | 1 | to front reception area | No | No | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | FA | FLSK-010 | SKIRTING: vinyl, floor vinyl coved, 150H, prefinished | 1 | to sort/ preparation area | No | No | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | FA | FLVY-007 | FLOOR FINISH: vinyl, seamless, coved, standard slip resistant | 1 | to sort/ preparation area | No | No | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | FFE | FQBS-018 | CHAIR: office, ergonomic | 2 |  | No | No | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | FFE | FQBS-019 | CHAIR: office, ergonomic, high | 1 |  | No | No | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | FFE | FQCW-016 | BIN: waste, general, 20L | 1 |  | No | No | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | FFE | FQDW-004 | KEYBOARD SHELF: drop down, for workstation | 3 | optional | No | No | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | FFE | FQSM-007 | PEDESTAL: mobile, drawer unit, 660H | 2 | under bench | No | No | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | FFE | HYBA-010 | BASIN: handwash, Type B | 1 |  | No | No | Yes | No | Yes | Yes | Yes | No | No
SPREC | Specimen Reception/ Sort/ Preparation | FFE | HYTP-037 | TAPWARE: mixer, elbow levers | 1 | to basin | No | No | Yes | No | Yes | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | SE | ITIN-026 | OUTLET: data, double RJ45, wall mounted | 5 |  | No | No | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | FFE | ITNE-007 | COMPUTER: desktop, with display screen | 3 | flat screen | Yes | Yes | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | FFE | ITNE-023 | PRINTER: networked | 1 |  | Yes | Yes | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | FFE | ITNE-049 | TELEPHONE: handset, desktop | 1 |  | No | Yes | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | SE | ITSE-006 | BUTTON: duress, fixed | 1 |  | No | No | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | SE | LIFX-008 | LIGHT: task light, built in | 2 | to counter top & under O/H joinery | No | No | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | SE | LIFX-031 | LIGHT: downlight, recessed | 1 | to bulkhead, if provided | No | No | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | FFE | MMLA-036 | CENTRIFUGE: benchtop | 1 |  | Yes | No | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | FFE | MMLA-054 | FRIDGE: laboratory, floor standing | 1 | specimen holding | Yes | No | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | FFE | MMLA-061 | INCUBATOR: laboratory | 1 | optional | Yes | No | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | FA | WLPR-012 | WALL PROTECTION: corner guards, to 900 AFFL, prefinished PVC | 1 | as required | No | No | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | FFE | WLPT-003 | PARTITION: laminate | 1 | under worktop | No | No | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | FA | WLWA-004 | WALL FINISH: paint, acrylic, washable | 1 |  | No | No | No | No | No | No | No | No | No
SPREC | Specimen Reception/ Sort/ Preparation | FA | WLWA-010 | WALL FINISH: splashback, vinyl | 1 | to basin & sorting bench, tiles also acceptable | No | No | No | No | No | No | No | No | No