## RDS
Standard Components - Room Data Sheet
Date of issue: 20.03.2017
Generated by dRofus (C) dRofus
AusHFG Room Number | Room name | Prog Area | Hours of Operation | Occupancy | Remarks | Acoustics | Description / Special Requirements
STRT | Stress Testing | 12 | Available 24 Hours | 1 patient; 1 - 2 staff |  | Acoustic privacy is required | Room for undertaking patient diagnostic stress testing procedures. The Stress Testing room should be located close to patient toilet and change rooms.

## Items in room
Standard Components - Items in room
Date of issue: 20.03.2017
Generated by dRofus (C) dRofus
Items | [6 empty] | Service allocations
AusHFG Room Code | Room Name | Item list | Item Number | Name | Gross quantity | Comment | Electrical | Data | Cold Water | Hot Water | Warm Water | Tap | Drainage | Gas | Steam
STRT | Stress Testing | FA | CLCN-002 | CORNICE: aluminium, 24mm shadow angle, powdercoat | 1 |  | No | No | No | No | No | No | No | No | No
STRT | Stress Testing | FA | CLTI-002 | CEILING: acoustic, drop-in tiles, 600 x 1200 | 1 |  | No | No | No | No | No | No | No | No | No
STRT | Stress Testing | FA | DWGL-005 | DOOR: 910mm c/o, single leaf, observation panel, solid core/glass, paint | 1 |  | No | No | No | No | No | No | No | No | No
STRT | Stress Testing | FA | DWPR-006 | DOOR PROTECTION: protection plate, to 900 AFFL, PVC, prefinished | 1 | equal to Acrovyn | No | No | No | No | No | No | No | No | No
STRT | Stress Testing | FA | DWPR-010 | DOOR PROTECTION: to door frame, PVC, prefinished | 1 | equal to Acrovyn | No | No | No | No | No | No | No | No | No
STRT | Stress Testing | SE | ELBO-015 | SWITCH: light, single | 1 |  | No | No | No | No | No | No | No | No | No
STRT | Stress Testing | SE | ELGP-110 | GPO: single, wall mounted, cleaner | 1 |  | No | No | No | No | No | No | No | No | No
STRT | Stress Testing | SE | ELGP-208 | GPO: double, wall mounted | 4 |  | No | No | No | No | No | No | No | No | No
STRT | Stress Testing | SE | ELGP-209 | GPO: double, wall mounted, RCD protected | 2 |  | No | No | No | No | No | No | No | No | No
STRT | Stress Testing | FFE | FIDI-014 | DISPENSER: disposable glove | 1 |  | No | No | No | No | No | No | No | No | No
STRT | Stress Testing | FFE | FIDI-025 | DISPENSER: paper/hand towel | 1 | to basin | No | No | No | No | No | No | No | No | No
STRT | Stress Testing | FFE | FIDI-030 | DISPENSER: soap | 1 | to basin | No | No | No | No | No | No | No | No | No
STRT | Stress Testing | FFE | FIDI-031 | DISPENSER: soap antiseptic | 1 | to basin | No | No | No | No | No | No | No | No | No
STRT | Stress Testing | FFE | FIHR-026 | HOOK: coat | 1 |  | No | No | No | No | No | No | No | No | No
STRT | Stress Testing | FFE | FIRT-032 | TRACK: curtain, privacy, L shaped | 1 | to entry door | No | No | No | No | No | No | No | No | No
STRT | Stress Testing | FA | FLSK-010 | SKIRTING: vinyl, floor vinyl coved, 150H, prefinished | 1 |  | No | No | No | No | No | No | No | No | No
STRT | Stress Testing | FA | FLVY-007 | FLOOR FINISH: vinyl, seamless, coved, standard slip resistant | 1 |  | No | No | No | No | No | No | No | No | No
STRT | Stress Testing | FFE | FQBS-014 | CHAIR: client | 1 |  | No | No | No | No | No | No | No | No | No
STRT | Stress Testing | FFE | FQBS-018 | CHAIR: office, ergonomic | 1 |  | No | No | No | No | No | No | No | No | No
STRT | Stress Testing | FFE | FQCW-016 | BIN: waste, general, 20L | 1 |  | No | No | No | No | No | No | No | No | No
STRT | Stress Testing | FFE | FQDW-003 | DESK: adj height, 800W x 900D x 750H nom., with shelf | 1 |  | No | No | No | No | No | No | No | No | No
STRT | Stress Testing | FFE | FQGE-005 | CLOCK: analogue, battery operated | 1 |  | No | No | No | No | No | No | No | No | No
STRT | Stress Testing | FFE | FQGE-010 | CURTAIN: privacy screen | 1 | to entry door | No | No | No | No | No | No | No | No | No
STRT | Stress Testing | FFE | HYBA-010 | BASIN: handwash, Type B | 1 | refer to BHWS-B (similar) | No | No | Yes | No | Yes | Yes | Yes | No | No
STRT | Stress Testing | FFE | HYTP-037 | TAPWARE: mixer, elbow levers | 1 | to basin | No | No | Yes | No | Yes | No | No | No | No
STRT | Stress Testing | SE | ITCL-004 | BUTTON: nurse call, emergency | 1 | + indicator button & light | No | No | No | No | No | No | No | No | No
STRT | Stress Testing | SE | ITCL-006 | BUTTON: nurse call, patient to staff | 2 | + indicator button & light | No | No | No | No | No | No | No | No | No
STRT | Stress Testing | SE | ITCL-008 | BUTTON: nurse call, staff assist | 1 | + indicator button & light | No | No | No | No | No | No | No | No | No
STRT | Stress Testing | SE | ITCL-028 | HANDSET: nurse call, with patient to staff call button | 2 | call button on the handset | No | No | No | No | No | No | No | No | No
STRT | Stress Testing | SE | ITIN-026 | OUTLET: data, double RJ45, wall mounted | 1 | 1 outlet for telephone | No | No | No | No | No | No | No | No | No
STRT | Stress Testing | FFE | ITNE-007 | COMPUTER: desktop, with display screen | 1 |  | Yes | Yes | No | No | No | No | No | No | No
STRT | Stress Testing | FFE | ITNE-049 | TELEPHONE: handset, desktop | 1 | to computer table | No | Yes | No | No | No | No | No | No | No
STRT | Stress Testing | FFE | MMAH-002 | BICYCLE: exercise | 1 |  | Yes | Yes | No | No | No | No | No | No | No
STRT | Stress Testing | FFE | MMAH-027 | TREADMILL: automatic | 1 |  | Yes | No | No | No | No | No | No | No | No
STRT | Stress Testing | FA | WLWA-004 | WALL FINISH: paint, acrylic, washable | 1 |  | No | No | No | No | No | No | No | No | No
STRT | Stress Testing | FA | WLWA-010 | WALL FINISH: splashback, vinyl | 1 | to basin; tiles also acceptable | No | No | No | No | No | No | No | No | No