## RDS
Standard Components - Room Data Sheet
Date of issue: 20.03.2017
Generated by dRofus (C) dRofus
AusHFG Room Number | Room name | Prog Area | Hours of Operation | Occupancy | Remarks | Acoustics | Description / Special Requirements
WAIT-SUB | Waiting - Sub, 5m2 | 5 | 24 Hours | Up to 5 |  |  | A satellite area for visitors, families and patients to wait, located within Departmental Units, close to Procedures/ Imaging rooms or Offices. The Sub-Waiting area should accommodate parking space for wheelchairs as required.

## Items in room
Standard Components - Items in room
Date of issue: 20.03.2017
Generated by dRofus (C) dRofus
Items | [6 empty] | Service allocations
AusHFG Room Code | Room Name | Item list | Item Number | Name | Gross quantity | Comment | Electrical | Data | Cold Water | Hot Water | Warm Water | Tap | Drainage | Gas | Steam
WAIT-SUB | Waiting - Sub, 5m2 | FA | CLCN-002 | CORNICE: aluminium, 24mm shadow angle, powdercoat | 1 |  | No | No | No | No | No | No | No | No | No
WAIT-SUB | Waiting - Sub, 5m2 | FA | CLTI-002 | CEILING: acoustic, drop-in tiles, 600 x 1200 | 1 |  | No | No | No | No | No | No | No | No | No
WAIT-SUB | Waiting - Sub, 5m2 | SE | ELGP-109 | GPO: single, wall mounted | 2 |  | No | No | No | No | No | No | No | No | No
WAIT-SUB | Waiting - Sub, 5m2 | FFE | FIHR-045 | RACK: magazine/pamphlet | 1 |  | No | No | No | No | No | No | No | No | No
WAIT-SUB | Waiting - Sub, 5m2 | FA | FLCP-003 | FLOOR FINISH: carpet, broadloom, 48 oz., 90/10 wool/nylon | 1 | Default = carpet; vinyl also acceptable | No | No | No | No | No | No | No | No | No
WAIT-SUB | Waiting - Sub, 5m2 | FA | FLSK-009 | SKIRTING: vinyl, feather edged, 150H, prefinished | 1 | Default = Feather edged: or floor vinyl coved skirting | No | No | No | No | No | No | No | No | No
WAIT-SUB | Waiting - Sub, 5m2 | FFE | FQBS-032 | CHAIR: waiting | 4 | some with arms, space for wheelchair | No | No | No | No | No | No | No | No | No
WAIT-SUB | Waiting - Sub, 5m2 | FFE | FQTA-075 | TABLE: square, 600W, low height | 2 |  | No | No | No | No | No | No | No | No | No
WAIT-SUB | Waiting - Sub, 5m2 | FA | WLPR-012 | WALL PROTECTION: corner guards, to 900 AFFL, prefinished PVC | 1 | as required, Equal to Acrovyn | No | No | No | No | No | No | No | No | No
WAIT-SUB | Waiting - Sub, 5m2 | FA | WLPR-019 | WALL PROTECTION: crash rail, at 900 AFFL, prefinished PVC | 1 | Equal to Acrovyn | No | No | No | No | No | No | No | No | No
WAIT-SUB | Waiting - Sub, 5m2 | FA | WLWA-004 | WALL FINISH: paint, acrylic, washable | 1 |  | No | No | No | No | No | No | No | No | No